{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":51,"n_cols":8,"rows_kept":51,"cut":false,"hidden":false,"merged":[[0,2,0,7]]}
[null,"IEC","Unbalanced Phase Correct"]
["h","I","I_A","I_B","I_C","delta_phi_A","delta_phi_A","delta_phi_A"]
[2,0.66394410000000004,0.66394410000000004,0.66394410000000004,0.66394410000000004,0,0,0]
[3,0.55789999999999995,0.55789999999999995,0.55789999999999995,0.55789999999999995,0,-120,120]
[4,0.15604979999999999,0.15604979999999999,0.15604979999999999,0.15604979999999999,0,0,0]
[5,1.2724089999999999,1.2724089999999999,1.2724089999999999,1.2724089999999999,0,0,0]
[6,0.2598106,0.2598106,0.2598106,0.2598106,0,-120,120]
[7,0.62077420000000005,0.62077420000000005,0.62077420000000005,0.62077420000000005,0,0,0]
[8,0.1425225,0.1425225,0.1425225,0.1425225,0,0,0]
[9,0.11152140000000001,0.11152140000000001,0.11152140000000001,0.11152140000000001,0,-120,120]
[10,0.17656040000000001,0.17656040000000001,0.17656040000000001,0.17656040000000001,0,0,0]
[11,0.28667160000000003,0.28667160000000003,0.28667160000000003,0.28667160000000003,0,0,0]
[12,0.1119317,0.1119317,0.1119317,0.1119317,0,-120,120]
[13,0.1189279,0.1189279,0.1189279,0.1189279,0,0,0]
[14,4.3368360000000002E-2,4.3368360000000002E-2,4.3368360000000002E-2,4.3368360000000002E-2,0,0,0]
[15,3.5896310000000001E-2,3.5896310000000001E-2,3.5896310000000001E-2,3.5896310000000001E-2,0,-120,120]
[16,4.556151E-2,4.556151E-2,4.556151E-2,4.556151E-2,0,0,0]
[17,4.8877549999999999E-2,4.8877549999999999E-2,4.8877549999999999E-2,4.8877549999999999E-2,0,0,0]
[18,5.784359E-2,5.784359E-2,5.784359E-2,5.784359E-2,0,-120,120]
[19,8.4425130000000001E-2,8.4425130000000001E-2,8.4425130000000001E-2,8.4425130000000001E-2,0,0,0]
[20,2.0233669999999999E-2,2.0233669999999999E-2,2.0233669999999999E-2,2.0233669999999999E-2,0,0,0]
[21,3.000442E-2,3.000442E-2,3.000442E-2,3.000442E-2,0,-120,120]
[22,6.7580619999999994E-2,6.7580619999999994E-2,6.7580619999999994E-2,6.7580619999999994E-2,0,0,0]
[23,5.2837849999999999E-2,5.2837849999999999E-2,5.2837849999999999E-2,5.2837849999999999E-2,0,0,0]
[24,9.2689889999999997E-2,9.2689889999999997E-2,9.2689889999999997E-2,9.2689889999999997E-2,0,-120,120]
[25,5.0976210000000001E-2,5.0976210000000001E-2,5.0976210000000001E-2,5.0976210000000001E-2,0,0,0]
[26,3.383895E-2,3.383895E-2,3.383895E-2,3.383895E-2,0,0,0]
[27,2.9074800000000001E-2,2.9074800000000001E-2,2.9074800000000001E-2,2.9074800000000001E-2,0,-120,120]
[28,8.0736630000000004E-2,8.0736630000000004E-2,8.0736630000000004E-2,8.0736630000000004E-2,0,0,0]
[29,4.463309E-2,4.463309E-2,4.463309E-2,4.463309E-2,0,0,0]
[30,6.3239950000000003E-2,6.3239950000000003E-2,6.3239950000000003E-2,6.3239950000000003E-2,0,-120,120]
[31,2.9294959999999998E-2,2.9294959999999998E-2,2.9294959999999998E-2,2.9294959999999998E-2,0,0,0]
[32,2.4397269999999999E-2,2.4397269999999999E-2,2.4397269999999999E-2,2.4397269999999999E-2,0,0,0]
[33,1.9179129999999999E-2,1.9179129999999999E-2,1.9179129999999999E-2,1.9179129999999999E-2,0,-120,120]
[34,4.8278729999999999E-2,4.8278729999999999E-2,4.8278729999999999E-2,4.8278729999999999E-2,0,0,0]
[35,3.9338640000000001E-2,3.9338640000000001E-2,3.9338640000000001E-2,3.9338640000000001E-2,0,0,0]
[36,3.0953560000000001E-2,3.0953560000000001E-2,3.0953560000000001E-2,3.0953560000000001E-2,0,-120,120]
[37,2.8869200000000001E-2,2.8869200000000001E-2,2.8869200000000001E-2,2.8869200000000001E-2,0,0,0]
[38,2.9311009999999998E-2,2.9311009999999998E-2,2.9311009999999998E-2,2.9311009999999998E-2,0,0,0]
[39,2.9566289999999999E-2,2.9566289999999999E-2,2.9566289999999999E-2,2.9566289999999999E-2,0,-120,120]
[40,3.6261849999999998E-2,3.6261849999999998E-2,3.6261849999999998E-2,3.6261849999999998E-2,0,0,0]
[41,4.296618E-2,4.296618E-2,4.296618E-2,4.296618E-2,0,0,0]
[42,6.0492770000000001E-2,6.0492770000000001E-2,6.0492770000000001E-2,6.0492770000000001E-2,0,-120,120]
[43,6.1352759999999999E-2,6.1352759999999999E-2,6.1352759999999999E-2,6.1352759999999999E-2,0,0,0]
[44,7.1530270000000007E-2,7.1530270000000007E-2,7.1530270000000007E-2,7.1530270000000007E-2,0,0,0]
[45,0.1122769,0.1122769,0.1122769,0.1122769,0,-120,120]
[46,0.06,0.06,0.06,0.06,0,0,0]
[47,0.11306919999999999,0.11306919999999999,0.11306919999999999,0.11306919999999999,0,0,0]
[48,0.08,0.08,0.08,0.08,0,-120,120]
[49,0.10327459999999999,0.10327459999999999,0.10327459999999999,0.10327459999999999,0,0,0]
[50,0.15834029999999999,0.15834029999999999,0.15834029999999999,0.15834029999999999,0,0,0]