{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Operation Scenario 1","Operation Scenario 2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Operation Scenario 1","index":0,"n_rows":248,"n_cols":10,"rows_kept":248,"cut":false,"hidden":false,"merged":[]}
["Freq.Sweep","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23"]
["Frequency in Hz","R1 in Ohm","R2 in Ohm","R0 in Ohm","X1 in Ohm","X2 in Ohm","X0 in Ohm","L1 in mH","L2 in mH","L0 in mH"]
[50,4.9507979999999998,3.8425229999999999,1.986267,25.028124999999999,22.778175000000001,13.451233999999999,{"$f":"1000*E3/(2*PI()*A3)","v":79.666996201436859},{"$f":"1000*F3/(2*PI()*A3)","v":72.505182917244653},{"$f":"1000*G3/(2*PI()*A3)","v":42.816607635715357}]
[60,6.1276840000000004,4.7319599999999999,2.1270210000000001,29.575081000000001,27.029101000000001,15.916872,{"$f":"1000*E4/(2*PI()*A4)","v":78.450338891553258},{"$f":"1000*F4/(2*PI()*A4)","v":71.696917191334876},{"$f":"1000*G4/(2*PI()*A4)","v":42.220814289349711}]
[70,7.3669469999999997,5.6780660000000003,2.2377449999999999,34.043480000000002,31.228642000000001,18.390909000000001,77.402687457858249,71.002753433531041,41.814343932903228]
[80,8.6708300000000005,6.6794750000000001,2.328611,38.473182999999999,35.406784999999999,20.877147999999998,76.539965636613431,70.439560646774666,41.533766273263453]
[90,10.056597999999999,7.7462109999999997,2.4063319999999999,42.897388999999997,39.590867000000003,23.377200999999999,75.859238945398843,70.012024270486648,41.339967720031098]
[100,11.553248,8.8978629999999992,2.47533,47.340454999999999,43.803566000000004,25.891874000000001,75.344674214694322,69.715540539520831,41.208197330125245]
[110,13.199609000000001,10.162528,2.5385550000000001,51.816293000000002,48.061512999999998,28.421762000000001,74.971083305890687,69.538430603867155,41.122399215285398]
[120,15.043348,11.576477000000001,2.5980080000000001,56.326121000000001,52.373691000000001,30.967496000000001,74.7048381861851,69.462765088479259,41.071917196487476]
[130,17.140059000000001,13.184195000000001,2.6550769999999999,60.854700000000001,56.738909,33.529834000000001,74.50251011826434,69.463675638394065,41.049529401159219]
[140,19.551148000000001,15.038176,2.7107489999999999,65.364459999999994,61.141728000000001,36.109701999999999,74.307692225231918,69.507201717001038,41.050268334823564]
[150,22.338543000000001,17.197344000000001,2.7657470000000002,69.787351000000001,65.546291999999994,38.708199999999998,74.046679179594165,69.546775820965024,41.07067578793135]
[160,25.553291999999999,19.722245999999998,2.8206359999999999,74.015347000000006,69.887865000000005,41.326619999999998,73.624427123199297,69.518744855556662,41.108349089252393]
[170,29.214335999999999,22.66403,2.8759329999999999,77.893088000000006,74.062961000000001,43.966465999999997,72.923941105247039,69.338154959836842,41.161649377539717]
[180,33.274912999999998,26.043478,2.9323579999999998,81.220772999999994,77.921639999999996,46.629432999999999,71.814930581637498,68.897856554595307,41.229470864013031]
[190,37.580460000000002,29.817578999999999,2.991352,83.780973000000003,81.270291,49.316541000000001,70.179768368413789,68.076676521930381,41.310375138653278]
[200,41.836754999999997,33.838104000000001,3.0513409999999999,85.403285999999994,83.898900999999995,52.026356,67.961775615954295,66.764624070637808,41.401258642293435]
[210,45.625193000000003,37.822254000000001,3.108689,86.063242000000002,85.646055000000004,54.765298999999999,65.225668489590547,64.909490521763516,41.50556212264587]
[220,48.499246999999997,41.372835000000002,3.1677040000000001,85.971400000000003,86.495097000000001,57.537207000000002,62.19442397513896,62.573282912558938,41.624231389780007]
[230,50.144511000000001,44.077955000000003,3.2290939999999999,85.576993999999999,86.653339000000003,60.343007,59.217398304545519,59.962205379424852,41.756034109038438]
[240,50.511132000000003,45.663257999999999,3.2927420000000001,85.448036000000002,86.541054000000003,63.185164,56.664488778725946,57.389318852011016,41.90096325280031]
[250,49.824741000000003,46.101987999999999,3.3587120000000001,86.091003999999998,86.665893999999994,66.066806999999997,54.807235369376542,55.173221710312937,42.059435633392937]
[260,48.479374999999997,45.602397000000003,3.427187,87.825731000000005,87.457774000000001,68.991505000000004,53.761150843496573,53.535911707360945,42.232073277304671]
[270,46.903314999999999,44.493575,3.4984280000000001,90.768888000000004,89.172939,71.963289000000003,53.504878533906016,52.564126044007608,42.419678390743037]
[280,45.475096000000001,43.102536999999998,3.5727639999999998,94.887113999999997,91.905002999999994,74.986726000000004,53.934832960086382,52.239769722590964,42.623243247062682]
[290,44.496412999999997,41.693550999999999,3.6505960000000002,100.05564,95.659368000000001,78.067029000000005,54.911550655941959,52.498831966367845,42.843977785683947]
[300,44.186011999999998,40.481738999999997,3.7324190000000002,106.097534,100.42450100000001,81.2102,56.286489953201439,53.27685247228996,43.083349198271463]
[310,44.675007999999998,39.687264999999996,3.8188469999999999,112.822041,106.18844799999999,84.423209,57.92317908021446,54.517472253086083,43.343132335581252]
[320,46.024414,39.560459000000002,3.9106480000000001,120.072931,112.891054,87.714230999999998,59.719376563068984,56.147403984231516,43.625479509857385]
[330,48.279302999999999,40.327829000000001,4.0088020000000002,127.75563699999999,120.38552199999999,91.092965000000007,61.614973140617693,58.060457281812475,43.933017153475809]
[340,51.528705000000002,42.130319,4.1145719999999999,135.815066,128.492054,94.571053000000006,63.575409118388258,60.147486888619824,44.268972230457699]
[350,55.936039000000001,45.058346,4.2296259999999997,144.176558,137.08221700000001,98.162666000000002,65.561176810500996,62.335178415845284,44.63735291708209]
[360,61.731256999999999,49.247112000000001,4.3562060000000002,152.66837100000001,146.08494899999999,101.88532499999999,67.494238606770466,64.583727068548427,45.043203061872944]
[370,69.147862000000003,54.945025999999999,4.4974119999999997,160.923486,155.41411600000001,105.761094,69.220995287782216,66.851148074749261,45.492975397044852]
[380,78.229287999999997,62.532783999999999,4.657673,168.274652,164.85438600000001,109.81836699999999,70.478270165443405,69.04576426915618,45.995094606131254]
[390,88.354380000000006,72.479800999999995,4.8436260000000004,173.81015099999999,173.897302,114.094702,70.930114592817276,70.965680009343941,46.560861035632719]
[400,97.524513999999996,85.141599999999997,5.0659559999999999,177.21677800000001,181.50899100000001,118.641611,70.512315543797612,72.220132833180855,47.205997117589462]
[410,102.886503,100.153402,5.3440159999999999,181.24698000000001,185.95895300000001,123.533439,70.356958018238771,72.186064834496207,47.95355476583201]
[420,105.687955,115.21046,5.7208240000000004,193.238045,185.40860900000001,128.885695,73.225690607533593,70.258801462243994,48.839989174010427]
[430,116.94615,125.396027,6.3309620000000004,218.56250700000001,180.705367,134.891818,80.896054333969715,66.884075351825729,49.927208412447222]
[440,153.52924899999999,127.15680500000001,7.7890709999999999,250.51616200000001,179.251294,141.697405,90.615648878886446,64.838021581178637,51.254187338736919]
[450,228.377319,126.609982,9.9659390000000005,263.50025599999998,191.95139,147.19341800000001,93.194151663066336,67.888916781911576,52.05902236731459]
[460,321.42398800000001,141.22746100000001,9.7757339999999999,209.61977999999999,222.88184699999999,154.732406,72.526139471381782,77.114668859785908,53.535711459569654]
[470,346.835126,197.763622,11.015786,88.388451000000003,259.85364499999997,165.32793100000001,29.930763593373999,87.993600174886311,55.984590318735748]
[480,283.68303400000002,318.57937199999998,14.008305999999999,0.94510700000000003,241.48104000000001,179.066485,0.31337177250156656,80.068544122857716,59.373575478834859]
[490,209.332322,387.49575199999998,20.368048999999999,-20.412599,80.009784999999994,198.31956299999999,-6.6301347595973059,25.987658731570978,64.41538523117255]
[500,157.856762,287.01953300000002,36.181421999999998,-11.169943999999999,-43.219586999999997,228.33896799999999,-3.5555036033193157,-13.75722181888044,72.682550915404221]
[510,121.80639600000001,185.027097,89.459384999999997,2.8892380000000002,-52.109898999999999,277.48189400000001,0.90164021464498345,-16.261858842881203,86.593362840394789]
[520,89.810120999999995,121.489727,287.233721,29.520213999999999,-27.487217999999999,234.73553100000001,9.0351691908280234,-8.4129358010471567,71.844846303751609]
[530,77.755560000000003,87.212408999999994,171.35349099999999,60.861370999999998,8.8132669999999997,-8.0285539999999997,18.27620384528251,2.6465566185635456,-2.4109133112834127]
[540,74.479332999999997,71.280457999999996,61.725078000000003,87.467585999999997,39.673997,31.991477,25.779441985584189,11.693171731042643,9.4288920395568123]
[550,76.336123000000001,63.069738000000001,32.583848000000003,112.298224,66.258716000000007,68.719306000000003,32.496031727347116,19.173458498767374,19.885485883171892]
[560,83.694659999999999,59.763561000000003,21.87585,136.72535300000001,90.589416999999997,91.978397999999999,38.85806388559697,25.745988406005317,26.140744106024467]
[570,98.501942,60.491458999999999,16.946925,160.89490000000001,113.877779,108.27113900000001,44.924945005747702,31.796862168730588,30.231380642174898]
[580,124.553298,65.442474000000004,14.383319,182.866491,136.96200200000001,120.86164599999999,50.179493049171711,37.583068334589754,33.165048950211727]
[590,167.01544899999999,75.881732,13.00999,194.96937500000001,160.26676599999999,131.37196499999999,52.593796242012544,43.232623766528995,35.438131548212652]
[600,224.09884600000001,94.592196999999999,12.391558,177.167237,183.18693200000001,140.70538199999999,46.995069204138893,48.59184289606484,37.323261774888991]
[610,260.70799,126.35082300000001,12.468688,109.42094400000001,201.89265800000001,149.439637,28.54899035308437,52.67576146665818,38.990257249849996]
[620,228.95985400000001,175.21346800000001,13.625999999999999,33.547753,203.484949,157.933089,8.6117592251225172,52.234895932503591,40.541664180842325]
[630,162.875077,226.06224800000001,17.150107999999999,9.3012669999999993,162.85887700000001,165.634736,2.3497501905833715,41.142532223722192,41.843788860509697]
[640,110.829491,225.84691799999999,22.575507000000002,23.875919,86.827965000000006,167.77638999999999,5.9374539526745354,21.59234348181263,41.722565316583804]
[650,78.941908999999995,169.59375900000001,19.790951,51.127907,44.328325999999997,166.93237500000001,12.518860198450335,10.853957233675359,40.874019451261439]
[660,60.587803000000001,114.250066,15.295448,80.387514999999993,49.791001000000001,172.476505,19.384955113824066,12.006793834308342,41.591648996915161]
[670,50.660150000000002,79.225396000000003,13.220701999999999,109.046691,74.848546999999996,179.66389699999999,25.903462538006711,17.779874982531421,42.678204929407684]
[680,46.803055999999998,59.543084999999998,12.335720999999999,136.78734600000001,104.15289300000001,186.80633399999999,32.015268041649122,24.377129056281273,43.722281554375876]
[690,48.585282999999997,49.601646000000002,11.971862,162.80371400000001,133.46940000000001,193.787971,37.55219686495537,30.785963422477412,44.699005067244727]
[700,54.581139,46.964516000000003,11.866878,183.58974000000001,161.621127,200.690271,{"$f":"1000*E68/(2*PI()*A68)","v":41.741735174222669},{"$f":"1000*F68/(2*PI()*A68)","v":36.746858957332847},{"$f":"1000*G68/(2*PI()*A68)","v":45.629783800145795}]
[710,56.582096999999997,50.529293000000003,11.914311,198.170785,185.759614,207.59398400000001,44.422338041058069,41.640226471749926,46.534660154563142]
[720,51.141841999999997,53.116405999999998,12.065728,216.79499999999999,202.29763399999999,214.55950999999999,47.922216510565903,44.717595037354265,47.428064727604088]
[730,45.320044000000003,46.631661999999999,12.29688,244.27343300000001,221.41467599999999,221.634927,53.256608668461517,48.272931723959509,48.320950950495032]
[740,46.907294,44.813380000000002,12.596323,278.468346,252.15526199999999,228.861322,59.891369946654365,54.232103208016163,49.222176593035051]
[750,49.035656000000003,46.20279,12.960592999999999,310.796581,278.83013,236.27591100000001,65.953082882947527,59.169591296607706,50.139305558920974]
[760,51.409824999999998,46.020043000000001,13.392556000000001,350.55248899999998,311.20670899999999,243.91416000000001,73.410738733575357,65.171165869356614,51.079137176457174]
[770,56.500694000000003,47.942779999999999,13.901997,397.771209,349.299105,251.81099800000001,82.217213158427796,72.198284647175285,52.048006567017367]
[780,64.857804000000002,52.216186999999998,14.508687,454.51970299999999,393.719742,260.00050199999998,92.742381365525858,80.336465554058606,53.051750127787464]
[790,77.758183000000002,59.245158000000004,15.249078000000001,524.60702800000001,446.41040700000002,268.51134000000002,105.68835656575742,89.934712559132706,54.094819034466539]
[800,97.803132000000005,69.999825000000001,16.186961,614.23701500000004,510.52619299999998,277.34867800000001,122.19857145907584,101.56595899229622,55.176766329628009]
[810,130.32489100000001,86.395756000000006,17.412092999999999,733.93843900000002,591.02815299999997,286.435067,144.2097907308636,116.12969389681854,56.280934306059542]
[820,187.27169900000001,112.200185,18.899829,902.91437199999996,696.04542400000003,295.48376100000002,175.2479091372127,135.09642664157826,57.350855081139272]
[830,299.66636199999999,155.36088899999999,20.002637,1159.4554209999999,839.78413899999998,304.30860000000001,222.32898981547532,161.03108054460401,58.352069777559457]
[840,568.04143599999998,234.78689800000001,20.302078999999999,1586.3883800000001,1049.164407,313.85458299999999,300.57327659588577,198.78535891681798,59.466081305351828]
[850,1442.758836,404.27327500000001,20.550771999999998,2321.2049609999999,1380.044688,324.59330199999999,434.62499232068257,258.40109856813228,60.777210009200466]
[860,4786.3676009999999,863.501485,21.108682999999999,1598.093627,1950.858643,336.26015799999999,295.74941890779724,361.03348407790367,62.229611989025273]
[870,2672.373227,2633.6260240000001,21.973700999999998,-2710.556192,2693.773432,348.70441299999999,-495.86024883349944,492.79006583036738,63.790840237825023]
[880,802.73040400000002,5073.7956089999998,23.102246999999998,-1936.460644,-1410.426667,361.92651899999998,-350.22418590399434,-255.08679082008703,65.457266516923596]
[890,349.35964100000001,1512.6650790000001,24.48068,-1337.0263749999999,-2454.3985050000001,375.99293799999998,-239.09478272526758,-438.90972403158202,67.237229944207343]
[900,191.06459699999999,552.45187299999998,26.128992,-996.40464799999995,-1647.3659889999999,390.99276300000002,-176.20302783215556,-291.31826692313206,69.142701049564366]
[910,120.127869,273.50927300000001,28.094025999999999,-782.533726,-1179.007944,407.00667299999998,-136.86166003188882,-206.20323322221154,71.183652614655657]
[920,84.234212999999997,162.661677,30.403462999999999,-634.61181599999998,-898.94410200000004,424.066104,-109.78435593578733,-155.5123884745706,73.361105053610615]
[930,68.151276999999993,111.11900300000001,32.918326,-524.820652,-712.79251999999997,442.21518300000002,-89.814839787646676,-121.98328274938568,75.678206757781822]
[940,67.122472000000002,90.464637999999994,35.431320999999997,-443.59535499999998,-578.16314499999999,461.84773899999999,-75.106801575376707,-97.890981319474719,78.197181508154827]
[950,71.441389000000001,94.380734000000004,38.162452999999999,-390.18613800000003,-483.58559100000002,483.499371,-65.368476409090974,-81.015828648069032,81.001384080497033]
[960,68.476335000000006,100.505489,41.435597000000001,-354.01425499999999,-433.65781500000003,507.39698199999998,-58.690748550254931,-71.894567570500712,84.119518536676509]
[970,59.992269,86.568123,45.400914999999998,-321.94545799999997,-398.54983299999998,533.74932699999999,-52.823928914107405,-65.392964938556077,87.576127591775716]
[980,51.548366999999999,69.476788999999997,50.176003999999999,-291.20428099999998,-360.00395300000002,562.90631399999995,-47.292449765991115,-58.465723114869768,91.417675888508725]
[990,44.891807999999997,57.035499999999999,55.927529,-262.50433700000002,-322.41895399999999,595.35112700000002,-42.200871531930012,-51.832899268301432,95.710176502404792]
[1000,39.977747999999998,48.626573,62.898069999999997,-236.23004700000001,-288.37069600000001,631.70361100000002,-37.597179686880764,-45.895621711250257,100.5387522596498]
[1010,36.414093000000001,42.932650000000002,71.432558999999998,-212.308875,-258.10276499999998,672.74986799999999,-33.455452394583489,-40.671614728154296,106.01135342239614]
[1020,33.808965999999998,39.063949000000001,82.021575999999996,-190.49087800000001,-231.22903500000001,719.49166500000001,-29.723102791779585,-36.079650888842039,112.26534803741964]
[1030,31.741358999999999,36.434961999999999,95.372021000000004,-170.468727,-207.344686,773.21369800000002,-26.340718975371693,-32.03876864149214,119.47648747870285]
[1040,29.523524999999999,34.472459000000001,112.515438,-151.68253799999999,-186.24043,835.56471699999997,-23.212524714831012,-28.501043305827036,127.86947594589483]
[1050,26.617989000000001,31.882441,134.94224299999999,-131.692171,-167.76393300000001,908.64288399999998,-19.961390458241095,-25.42900877094052,137.72857761321492]
[1060,29.318667999999999,26.234489,164.65352300000001,-109.221306,-148.822563,995.15386000000001,-16.399161076275931,-22.345138250051896,149.4185433546981]
[1070,35.235278000000001,23.967714999999998,204.12097199999999,-93.004609000000002,-124.678667,1099.238106,-13.833778740821472,-18.545071169306887,163.50390486436709]
[1080,39.64669,27.416283,257.89412800000002,-78.727463,-103.815817,1228.5819100000001,-11.601726753272498,-15.298889302475574,181.050818490539]
[1090,44.405586,31.315809000000002,337.05276500000002,-64.763175000000004,-86.094237000000007,1394.555151,-9.4563114051151,-12.57093889016069,203.62417036322435]
[1100,50.511443999999997,35.400089000000001,462.60028799999998,-51.387211999999998,-69.540031999999997,1611.2881190000001,-7.4350261831919644,-10.0614907596078,233.13133534917461]
[1110,58.636046999999998,40.190269999999998,675.12505699999997,-39.306401000000001,-53.552424999999999,1898.1860959999999,-5.6358630759479436,-7.6784983363135071,272.16729737541169]
[1120,69.319490999999999,46.173399000000003,1065.1212310000001,-30.090866999999999,-38.002104000000003,2275.6240400000002,-4.2759912722953493,-5.4001988388324005,323.37215587924015]
[1130,81.867289,53.882919999999999,1849.8580320000001,-27.474962000000001,-23.011433,2711.9495940000002,-3.8697132863380421,-3.2410471766176658,381.96476398332629]
[1140,87.541725999999997,64.055565000000001,3464.6411440000002,-37.2209,-9.0938639999999999,2789.7807760000001,-5.1963949309904622,-1.2695907082503821,389.48017600275756]
[1150,66.189434000000006,77.818135999999996,5448.1783329999998,-41.087674999999997,1.978272,860.26216799999997,-5.6863535446985134,0.27378414572199128,119.05650121056566]
[1160,52.950893000000001,94.127072999999996,4452.4592629999997,-11.334823999999999,3.0850050000000002,-2102.4439219999999,-1.5551666109281459,0.42327051311483849,-288.4606403101821]
[1170,63.280287000000001,87.749643000000006,2440.7302890000001,15.016769,-3.6580550000000001,-2639.462395,2.0427290731787506,-0.49760473107010528,-359.04571561489126]
[1180,77.910370999999998,83.637394,1359.814537,31.814834999999999,19.900017999999999,-2265.2608030000001,4.291091740595796,2.6840561290827907,-305.53174083878491]
[1190,92.274814000000006,96.167739999999995,836.05538999999999,45.458807,39.678578999999999,-1856.791348,6.0798267572356757,5.3067579686657762,-248.33405153316272]
[1200,108.09518,111.872753,560.55852200000004,59.954098000000002,55.820431999999997,-1537.180323,7.9516592127632642,7.4034147319375103,-203.87487235753861]
[1210,129.84593599999999,131.45013499999999,401.427528,76.890702000000005,72.622456999999997,-1296.2492319999999,10.113665538104037,9.5522504223376981,-170.4995642577463]
[1220,165.23819700000001,160.02686299999999,301.81626,94.433779999999999,91.312470000000005,-1112.019628,12.319346624469315,11.912156529860983,-145.06837755033658]
[1230,226.02605399999999,207.21346399999999,235.47541799999999,100.72747699999999,108.29024,-967.53795300000002,13.033557617662762,14.012135759843648,-125.19386003980806]
[1240,312.52015399999999,286.77653700000002,189.267357,55.654395999999998,104.65236,-851.44252200000005,7.1432840549950063,13.432210000187537,-109.28329527010472]
[1250,342.27828799999997,386.43940700000002,155.979906,-77.872411999999997,23.786208999999999,-756.19566099999997,-9.9150234402309021,3.028554191813543,-96.281821914234541]
[1260,246.00522799999999,380.92854999999997,131.363697,-173.34981099999999,-148.25991500000001,-676.63133000000005,-21.896412146583977,-18.727220900503365,-85.467635571701166]
[1270,148.44377900000001,246.28694899999999,112.810659,-167.14176499999999,-229.43446800000001,-609.09236299999998,-20.946014249491295,-28.752464329023063,-76.33075619761658]
[1280,95.840840999999998,141.40243799999999,98.694196000000005,-128.16676799999999,-204.820458,-550.92761399999995,-15.936230208837619,-25.467334638317141,-68.502228948377876]
[1290,71.518272999999994,88.108625000000004,88.023593000000005,-87.173569000000001,-157.326277,-500.19412499999999,-10.755119700242179,-19.410274932399041,-61.711912790135955]
[1300,63.440156000000002,62.438476000000001,80.265530999999996,-48.567459999999997,-112.212079,-455.50932299999999,-5.9459625633983872,-13.737774651898665,-55.766584907609825]
[1310,69.056003000000004,50.745323999999997,75.220524999999995,-11.407802,-71.191924,-416.06851599999999,-1.3859603649722212,-8.649272223528655,-50.549130523900267]
[1320,94.511640999999997,47.973810999999998,72.712834999999998,21.390073999999998,-31.28912,-381.83912099999998,2.5790424319707803,-3.7725894795420341,-46.039078464404803]
[1330,145.50496699999999,54.658700000000003,71.673053999999993,23.616593999999999,11.734152,-353.45466599999997,2.8260884767627044,1.4041716494674059,-42.296283648717946]
[1340,161.14223000000001,79.829099999999997,69.529684000000003,-31.707521,62.783422999999999,-330.44829299999998,{"$f":"1000*E132/(2*PI()*A132)","v":-3.7659766420448335},{"$f":"1000*F132/(2*PI()*A132)","v":7.4569344139398464},{"$f":"1000*G132/(2*PI()*A132)","v":-39.248118856141012}]
[1350,114.926492,157.35342399999999,64.860286000000002,-53.238436,114.384505,-309.83518199999997,-6.2764150013937128,13.485081025088606,-36.527259821538536]
[1360,80.162215000000003,306.88791199999997,59.183729999999997,-32.712601999999997,39.442686999999999,-289.30486500000001,-3.8282149336013389,4.6158077977032645,-33.856102445061367]
[1370,63.639888999999997,232.75107399999999,54.145713000000001,-2.4301680000000001,-125.792317,-268.85869600000001,-0.28231624068886507,-14.613481060972743,-31.233715665431529]
[1380,57.243180000000002,128.243537,50.241762999999999,30.017423999999998,-113.223815,-249.125913,3.4618995713661542,-13.058065096356728,-28.731609062486569]
[1390,57.118949999999998,86.899513999999996,47.418795000000003,65.058323999999999,-69.519479000000004,-230.500531,7.4491754344417904,-7.9599774992972767,-26.392301362558747]
[1400,62.482021000000003,71.459418999999997,45.514833000000003,105.21409800000001,-28.288917000000001,-213.19068899999999,11.960959842610787,-3.2159435537616794,-24.235965696797827]
[1410,74.911169000000001,67.821834999999993,44.295082999999998,154.640546,11.184919000000001,-197.38374899999999,17.45518248108484,1.2625071964059993,-22.279857687489326]
[1420,99.699574999999996,72.284643000000003,43.305759000000002,220.476057,52.694426,-183.195502,24.711165003493292,5.9060411065423173,-20.532725137676902]
[1430,152.01180099999999,85.876564000000002,41.943869999999997,316.160797,100.87282999999999,-170.35113100000001,35.187799758337952,11.226859802914985,-18.959597594367139]
[1440,283.27782000000002,114.91082299999999,39.977932000000003,466.16947699999997,162.34972099999999,-158.14322000000001,51.523039293828894,17.943583754680613,-17.478663319075753]
[1450,714.32219599999996,178.77299199999999,37.753895,645.96291900000006,247.391786,-146.03011100000001,70.902201112358355,27.154224567056794,-16.02856138338494]
[1460,1516.2792690000001,343.00074899999998,35.704092000000003,-197.74168399999999,361.34266600000001,-133.95333500000001,-21.555867441038046,39.390048934180648,-14.602284526640133]
[1470,583.07571499999995,801.71240799999998,34.023009999999999,-831.50211400000001,331.283207,-122.07162700000001,-90.025626962218155,35.867591807745292,-13.216532549877602]
[1480,204.854784,907.22449300000005,32.724193,-601.02571499999999,-476.75437099999999,-110.525301,-64.632576667291019,-51.268793773863081,-11.885572966803785]
[1490,96.860427999999999,340.68600900000001,31.747800999999999,-443.14047699999998,-590.95641999999998,-99.389799999999994,-47.334226442047211,-63.123245231469923,-10.616361048936145]
[1500,55.388413,140.943917,31.004443999999999,-347.57315999999997,-445.970617,-88.684049000000002,-36.878657666713487,-47.318952112861638,-9.4096698478359055]
[1510,35.169359999999998,72.413281999999995,30.400352999999999,-284.45934199999999,-344.07150000000001,-78.360882000000004,-29.98219230991258,-36.265350994730511,-8.2592859041991566]
[1520,24.049115,43.120364000000002,29.893466,-239.03672900000001,-277.21731199999999,-68.308684,-25.02886644793935,-29.026648365426443,-7.1524109965146447]
[1530,17.518495999999999,28.316443,29.535972000000001,-204.592232,-230.545254,-58.414509000000002,-21.282264732682254,-23.981971751945462,-6.0764430428993528]
[1540,13.408702999999999,19.961527,29.446072999999998,-177.34775500000001,-195.81568100000001,-48.628773000000002,-18.328423282143113,-20.237034783153071,-5.0256555840543484]
[1550,10.676776,14.920916999999999,29.774806000000002,-155.005055,-168.69429400000001,-38.981945000000003,-15.91601335966523,-17.321632749353203,-4.0026898310234804]
[1560,8.7980619999999998,11.69964,30.700050000000001,-136.10409200000001,-146.69911500000001,-29.632622999999999,-13.885666036432109,-14.966595704779753,-3.0231912995055059]
[1570,7.5234490000000003,9.5319199999999995,32.312981999999998,-119.679776,-128.286821,-21.000844000000001,-12.132247094605592,-13.004765411270805,-2.1289096380266064]
[1580,6.7269490000000003,7.9729520000000003,34.178798,-105.09143,-112.41478600000001,-13.719946999999999,-10.585962380440446,-11.323651182606072,-1.3820236607650762]
[1590,6.3622079999999999,6.8810960000000003,35.123334,-91.796999999999997,-98.249920000000003,-7.7435590000000003,-9.1886454786205771,-9.8345663059014274,-0.77511049809668808]
[1600,6.7056529999999999,6.3813459999999997,34.61056,-79.217982000000006,-85.320684,-1.8055369999999999,-7.8799583856654936,-8.4870053791134907,-0.17960008655331963]
[1610,9.4686900000000005,6.7995260000000002,33.427494000000003,-66.917649999999995,-73.251414999999994,4.9725549999999998,-6.6150775016107888,-7.2411955190843527,0.49155696151945322]
[1620,17.524837999999999,10.194838000000001,32.334150000000001,-64.601724000000004,-63.012821000000002,12.461195,-6.3467183375668705,-6.1906184816757959,1.2242350500506241]
[1630,7.219824,8.5886779999999998,31.565460000000002,-60.759410000000003,-60.706614000000002,20.306099,-5.9326137673908814,-5.9274587094918143,1.9827092213272346]
[1640,4.2642509999999998,4.4973049999999999,31.111294000000001,-49.508043000000001,-50.394758000000003,28.286764999999999,-4.8045425404000657,-4.8905944156218526,2.7451088255053762]
[1650,3.4568569999999998,3.549293,30.910883999999999,-39.866027000000003,-40.645733999999997,36.304004999999997,-3.8453789445363413,-3.9205875646656452,3.5017950604744748]
[1660,3.1030660000000001,3.1750980000000002,30.909347,-31.131402000000001,-31.808527000000002,44.322400000000002,-2.9847689841451306,-3.0496893400735039,4.2494753311423024]
[1670,2.9034520000000001,2.9660899999999999,31.065904,-22.919103,-23.501477999999999,52.337715000000003,-2.1842446309474779,-2.239746343512234,4.9879078157993044]
[1680,2.7774969999999999,2.8311380000000002,31.353503,-15.039565,-15.533645,60.362630000000003,-1.4247744712511077,-1.4715811821337528,5.7184588943613894]
[1690,2.6962440000000001,2.740847,31.758745999999999,-7.3793480000000002,-7.7923090000000004,68.418080000000003,-0.69494657455342701,-0.73383697955589577,6.4432400170749959]
[1700,2.6470440000000002,2.6829710000000002,32.279454999999999,0.141401,-0.19819999999999999,76.526073999999994,1.3238040063610056E-2,-1.8555593953419797E-2,7.1644135014801007]
[1710,2.6236640000000002,2.6515249999999999,32.920174000000003,7.5860060000000002,7.3117520000000003,84.706553999999997,0.70605283814314423,0.68052717746318825,7.8838987025617309]
[1720,2.6229309999999999,2.6433949999999999,33.689464000000001,15.009290999999999,14.792261999999999,92.977641000000006,1.3888388691597076,1.3687567539595382,8.6034018384730668]
[1730,2.6434329999999999,2.6571120000000001,34.599606000000001,22.462057000000001,22.293987000000001,101.35588300000001,2.0664435858739361,2.0509816371540199,9.3244449658345676]
[1740,2.6850399999999999,2.6923819999999998,35.666932000000003,29.994084999999998,29.866413000000001,109.85490799999999,2.7435097076255581,2.7318317594103698,10.048248063853677]
[1750,2.7489020000000002,2.7499669999999998,36.911000999999999,37.656643000000003,37.560312000000003,118.482401,3.424709070683897,3.41594818221362,10.775462736312072]
[1760,2.8377780000000001,2.8318539999999999,38.350589999999997,45.504916000000001,45.430672999999999,127.236115,4.1149615433985671,4.1082478272394916,11.505827637533438]
[1770,2.9515400000000001,2.9432109999999998,39.994149,53.606579000000004,53.542814999999997,136.10200599999999,4.8201988870599957,4.8144653527146213,12.238026564758643]
[1780,3.1473629999999999,3.1118239999999999,41.825688,62.075463999999997,61.968462000000002,145.06153399999999,5.5503465956870777,5.5407792376979099,12.970370892468001]
[1790,3.7086399999999999,3.3460139999999998,43.796337999999999,70.828310000000002,70.798841999999993,154.113675,6.2975841605280003,6.2949640611631779,13.702767136484834]
[1800,3.7791679999999999,3.823893,45.835067000000002,79.528571999999997,80.229016999999999,163.30479500000001,7.0318696393553894,7.093802574974279,14.439314086032576]
[1810,3.8671500000000001,5.5189760000000003,47.885714,89.307879999999997,89.682952,172.751307,7.8529229608054241,7.8859033822503779,15.190179245654997]
[1820,4.1482570000000001,4.9365269999999999,49.966538,99.772778000000002,98.232450999999998,182.62316300000001,8.7249070355551144,8.5902088729024157,15.969988524465345]
[1830,4.5476010000000002,4.6918629999999997,52.191997000000001,111.06329700000001,109.519818,193.070436,9.6591654172859407,9.5249291809971233,16.791319264648862]
[1840,5.0806190000000004,5.0155580000000004,54.717664999999997,123.39351600000001,121.662319,204.17121700000001,10.673200009178737,10.523456226561422,17.660249142738049]
[1850,5.8027309999999996,5.5779399999999999,57.682738999999998,137.044725,134.89347100000001,215.951886,11.789916436983486,11.604844702958507,18.578275744279715]
[1860,6.8301059999999998,6.3804249999999998,61.201326000000002,152.407331,149.561161,228.428428,13.041064565641214,12.797525842856343,19.5459749779092]
[1870,8.4293130000000005,7.5360170000000002,65.379383000000004,170.05285000000001,166.10845399999999,241.62716499999999,14.473129232280542,14.137423285268831,20.564790211246525]
[1880,11.344519,9.3332770000000007,70.329814999999996,190.82663299999999,185.155655,255.58776499999999,16.154788252943082,15.674700922695536,21.637263932744531]
[1890,18.131022000000002,12.589601,76.178783999999993,215.36413200000001,207.55722399999999,270.36385300000001,18.135590567457903,17.47817892805914,22.767060126095537]
[1900,33.371878000000002,19.961124999999999,83.070809999999994,235.95851200000001,233.497444,286.033613,19.765243973372794,19.559090743117377,23.959822841781165]
[1910,31.775911000000001,32.284838000000001,91.191766000000001,249.33501000000001,254.37955500000001,302.72086000000002,20.776387082391182,21.196734868987782,25.224880233523365]
[1920,26.199888999999999,28.863298,100.823983,287.66897699999998,278.57231100000001,320.60196999999999,23.845801908197263,23.091750158428528,26.575723067968507]
[1930,29.202403,27.963791000000001,112.411028,340.77220799999998,324.26651900000002,339.86874699999998,28.101337498207005,26.740217294327461,28.026834760362057]
[1940,39.171771999999997,34.631805,126.59509799999999,412.54195900000002,385.94403799999998,360.662035,33.844377323538161,31.662320311621801,29.588219410222766]
[1950,60.571019999999997,49.885598000000002,144.24017499999999,517.56783399999995,471.76489099999998,383.01186799999999,42.24280982895668,38.504468912748308,31.260631823107964]
[1960,110.94035,82.596490000000003,166.48474999999999,689.31246799999997,601.93585900000005,406.76868000000002,55.973207457690776,48.878095604140888,33.030227610696627]
[1970,266.877725,165.373604,194.83351200000001,1018.935186,824.67463199999997,431.46109300000001,82.319071848812087,66.62489549507093,34.857444519178664]
[1980,1102.0254219999999,460.94872400000003,231.243379,1722.818485,1271.3310320000001,455.99960600000003,{"$f":"1000*E196/(2*PI()*A196)","v":138.48236259486887},{"$f":"1000*F196/(2*PI()*A196)","v":102.19122123682858},{"$f":"1000*G196/(2*PI()*A196)","v":36.653834011543786}]
[1990,2930.751033,2255.443992,278.085013,-1086.981804,1714.840978,478.13709699999998,-86.93393324499786,137.1484513895679,38.240141941285955]
[2000,640.47477900000001,1753.0572970000001,337.70631300000002,-1181.777726,-1527.968517,493.62170300000002,-94.042883364399756,-121.59187118467136,39.281167024944736]
[2010,257.60009200000002,494.59677699999997,411.03445599999998,-732.16974600000003,-1020.954405,495.20506399999999,-57.974345402108192,-80.840766282186493,39.211111333203178]
[2020,145.29059100000001,234.81558000000001,494.459653,-515.41838900000005,-678.11320699999999,472.52746200000001,-40.609596222678903,-53.428251915815665,37.230238279191951]
[2030,92.012546999999998,139.349932,575.45395599999995,-390.344874,-497.59837399999998,415.58195499999999,-30.603604043193624,-39.012433939206723,32.58222778228749]
[2040,60.571933000000001,89.059633000000005,632.01947099999995,-304.925972,-384.35990199999998,324.1533,-23.789448882794545,-29.986656043929642,25.289509811053957]
[2050,41.643861999999999,59.369539000000003,644.11413500000003,-240.89802599999999,-303.21200900000002,216.597747,-18.702493472673133,-23.54033660349964,16.81590346225256]
[2060,30.382446000000002,41.812784999999998,610.89450399999998,-190.95389800000001,-241.46035800000001,122.137297,-14.753037266682325,-18.655150260407122,9.4362886181713197]
[2070,23.581755000000001,31.334681,551.14925600000004,-150.81734599999999,-192.97136499999999,60.232230000000001,-11.595809719758787,-14.836882422676505,4.6310420956270297]
[2080,19.365074,24.890505999999998,486.68255799999997,-117.517938,-153.72673399999999,32.249288999999997,-8.9920965070513876,-11.762677693015833,2.4676123824755223]
[2090,16.711876,20.799332,430.81078300000001,-88.961140999999998,-120.926033,29.398178000000001,-6.7744523125574529,-9.2086009093031862,2.2386915533949328]
[2100,15.078884,18.157371999999999,388.34948400000002,-63.647686,-92.612753999999995,41.784382000000001,-4.8237351634575356,-7.0189417106922392,3.1667575901619123]
[2110,14.187449000000001,16.475992000000002,359.53419500000001,-40.452522000000002,-67.389770999999996,61.948931000000002,-3.051288548262391,-5.0831351509387952,4.6727386672553326]
[2120,13.924264000000001,15.493446,342.91855700000002,-18.456599000000001,-44.209293000000002,84.930141000000006,-1.3855938507145908,-3.3189280714848715,6.3759678102083246]
[2130,14.315337,15.084697,336.63731799999999,3.1934239999999998,-22.221836,107.39948099999999,0.23861465492408113,-1.6604295981114701,8.0249569420911246]
[2140,15.573430999999999,15.226336,338.67190699999998,25.433899,-0.65807300000000002,126.96058499999999,1.8915564242757075,-4.8941855544538705E-2,9.442245177845205]
[2150,18.290537,16.00253,346.71597300000002,49.493470000000002,21.285146999999998,141.916482,3.6637815819862465,1.5756448183663379,10.505446333261389]
[2160,24.066134000000002,17.666129999999999,358.13809199999997,77.224462000000003,44.591327,151.50386700000001,5.6901179883852935,3.2856157921653222,11.163235801197725]
[2170,37.732309000000001,20.825271999999998,370.460509,111.309325,70.665892999999997,156.24980300000001,8.163792297683079,5.1828692068907669,11.459874886905466]
[2180,75.127666000000005,27.008351999999999,382.301694,150.66073399999999,101.791676,157.74705800000001,10.999266305483111,7.4314900922058014,11.516616531607301]
[2190,157.463987,40.574387000000002,393.91337399999998,148.15600699999999,141.93202600000001,157.47593499999999,10.767014092606139,10.314695671665486,11.44432578688037]
[2200,166.74302299999999,76.556194000000005,406.41038700000001,65.174627000000001,196.272685,155.46626000000001,4.7149382051002293,14.198985459849318,11.246919892277184]
[2210,117.60368800000001,182.89307400000001,420.03662000000003,59.059736000000001,241.87156300000001,150.15437499999999,4.25323480638116,17.418576852856461,10.813489143947562]
[2220,98.413903000000005,303.18318699999998,432.92124699999999,88.816288999999998,122.36507,139.89356000000001,6.3673655051478963,8.7725251136422475,10.029167378703894]
[2230,101.02455500000001,227.12761900000001,441.70605499999999,125.38688500000001,29.501702000000002,125.122635,8.9488531599305059,2.1055343959300696,8.9299936560237647]
[2240,121.972908,177.594942,444.05229600000001,165.70983100000001,48.410839000000003,109.11566000000001,11.773901215434195,3.4396537169981731,7.7528110079172334]
[2250,168.847669,176.556738,440.78062,208.283467,82.187242999999995,96.030923999999999,14.733041483274516,5.8135582144643436,6.7927983307920563]
[2260,261.81057600000003,209.57154800000001,435.27067599999998,238.511087,106.904194,88.038185999999996,16.796556848792523,7.5284650054667877,6.1998727799750872]
[2270,413.66131300000001,271.21514500000001,430.94498800000002,190.35678100000001,100.847792,84.378253000000001,13.346353589079907,7.0706716285036562,5.9159542089905495]
[2280,490.892067,329.42783500000002,429.375541,-22.284786,32.275674000000002,82.599806000000001,-1.5555850208969588,2.2529969555800728,5.7658629049699979]
[2290,352.51533000000001,312.62909999999999,430.00290999999999,-189.60965999999999,-74.193095,80.384403000000006,-13.177866658067085,-5.1564182587496008,5.5867140108912583]
[2300,205.41242199999999,230.835847,431.03609699999998,-197.417509,-129.12796,76.839348000000001,-13.660857569669016,-8.9353709240750181,5.3171139383297144]
[2310,122.4589,155.854311,430.88288499999999,-156.06065899999999,-125.439565,72.796955999999994,-10.752305325553541,-8.6425657268602194,5.0155824196723842]
[2320,77.301589000000007,107.403803,429.31503500000002,-112.259721,-99.552057000000005,69.996571000000003,-7.7011592703737284,-6.8293973993603974,4.8018535664365567]
[2330,50.033180000000002,78.049644999999998,427.56876299999999,-72.941798000000006,-70.042589000000007,69.714209999999994,-4.9824239097470073,-4.784388097126187,4.76195756448345]
[2340,32.550384999999999,59.744002999999999,427.38875000000002,-35.754995000000001,-42.184815999999998,71.922847000000004,-2.4318735873829072,-2.8691974315478959,4.8918276159367933]
[2350,24.787063,47.407522,429.92270100000002,0.38016299999999997,-16.700983000000001,75.528253000000007,2.5746732183252852E-2,-1.131082552742005,5.1151892800192664]
[2360,25.090284,37.709457,435.30551000000003,30.968008000000001,7.3464530000000003,79.264942000000005,2.0884370978429492,0.4954340292975779,5.3455115818611807]
[2370,27.123640999999999,28.912510999999999,443.080174,56.025188,32.982450999999998,82.472060999999997,3.7623146024695098,2.2149030008169732,5.5383275000532999]
[2380,28.764521999999999,24.880989,453.024721,79.472434000000007,62.952165000000001,85.193870000000004,5.3144666851447102,4.2097261504565573,5.6970695511043408]
[2390,30.571296,27.652794,465.70990799999998,103.783086,91.694721999999999,87.558092000000002,6.9111260026072294,6.1061373480071808,5.8306707738472543]
[2400,33.403255999999999,31.995719000000001,482.33639299999999,130.550174,118.76268899999999,88.922566000000003,8.6573772973362644,7.8756954205147771,5.896860804714712]
[2410,38.390968999999998,37.168197999999997,503.96085900000003,161.62697499999999,147.98200399999999,87.394779999999997,10.673747721261488,9.7726420851637457,5.7714984387671011]
[2420,47.877575,44.831671,530.54141600000003,200.10075699999999,182.41572300000001,79.973217000000005,13.159927517760403,11.996844633525598,5.2595590084755361]
[2430,68.735803000000004,58.256633000000001,560.13995199999999,251.95357200000001,225.95238599999999,63.274635000000004,16.501916219530766,14.798946146217272,4.1442267212285806]
[2440,129.27115699999999,85.934062999999995,588.56578999999999,326.56146100000001,285.556825,34.806297999999998,21.300766697320164,18.6261394394989,2.2703255645203071]
[2450,345.93807399999997,158.357113,609.94350299999996,330.05399199999999,372.47360500000002,-5.4157320000000002,21.440703801637909,24.196332819186985,-0.35181245643304349]
[2460,256.49071400000003,406.579815,618.61172799999997,66.869844000000001,430.75716299999999,-53.732148000000002,4.3262870798308617,27.868752749468005,-3.4763158362379261]
[2470,136.58501000000001,499.79386299999999,611.74672199999998,169.30204599999999,-14.023258,-103.457914,10.909011132174674,-0.90359142872589715,-6.6663313421361146]
[2480,154.26658,201.47243399999999,590.85612700000001,298.20049899999998,18.211842999999998,-147.49851799999999,19.137130422709593,1.1687519501062629,-9.4657734832374594]
[2490,296.60670800000003,169.10039900000001,560.80635500000005,450.26193999999998,177.726033,-181.23496599999999,28.779684111303773,11.359829987174022,-11.584112730920316]
[2500,796.15794000000005,319.68997899999999,527.272965,384.757475,331.74668000000003,-203.62138200000001,24.494421615122537,21.119649590530088,-12.962939785801234]

{"sheet":"Operation Scenario 2","index":1,"n_rows":248,"n_cols":10,"rows_kept":248,"cut":false,"hidden":false,"merged":[]}
["Freq.Sweep","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23","Bus 23"]
["Frequency in Hz","R1 in Ohm","R2 in Ohm","R0 in Ohm","X1 in Ohm","X2 in Ohm","X0 in Ohm","L1 in mH","L2 in mH","L0 in mH"]
[50,15.220392,14.196884000000001,1.418979,52.028675999999997,51.181843999999998,21.491807000000001,{"$f":"1000*E3/(2*PI()*A3)","v":165.6124193585332},{"$f":"1000*F3/(2*PI()*A3)","v":162.91686938316528},{"$f":"1000*G3/(2*PI()*A3)","v":68.410546400539957}]
[60,18.119218,16.868061999999998,1.469292,60.875836999999997,60.056767999999998,25.732524999999999,{"$f":"1000*E4/(2*PI()*A4)","v":161.47817289010828},{"$f":"1000*F4/(2*PI()*A4)","v":159.30552488871936},{"$f":"1000*G4/(2*PI()*A4)","v":68.257642533096231}]
[70,21.03519,19.572724000000001,1.5167710000000001,69.406426999999994,68.641925000000001,29.986818,157.80537056281125,156.06716667275927,68.179290175671753]
[80,23.959824000000001,22.294270000000001,1.5631219999999999,77.730740999999995,77.038591999999994,34.255245000000002,154.64039575432318,153.26340907049678,68.148644607174163]
[90,26.922204000000001,25.052349,1.609218,85.935231000000002,85.331158000000002,38.539068999999998,151.96685332659868,150.89861772728366,68.152037038995857]
[100,29.975873,27.891776,1.6555500000000001,94.078946000000002,93.582250999999999,42.839984000000001,149.73129296775494,148.94077832316466,68.181952155777068]
[110,33.190309999999997,30.875036999999999,1.7024159999999999,102.192504,101.830962,47.159967000000002,147.8585650776208,147.33546329184506,68.234016946369664]
[120,36.645299000000001,34.077612000000002,1.750014,110.276392,110.09109100000001,51.501221999999999,146.25860744282954,146.01284435858059,68.305617138108914]
[130,40.425837999999999,37.584501000000003,1.7984910000000001,118.296971,118.34756400000001,55.866143999999998,144.82728990345075,144.88922933449572,68.395176685258704]
[140,44.614749000000003,41.485728000000002,1.8479669999999999,126.17973499999999,126.550032,60.257322000000002,143.44377530911026,143.86473672312525,68.50179038414295]
[150,49.279491999999998,45.867905,1.89856,133.80078800000001,134.603542,64.677548999999999,141.96704533193835,142.81879377985032,68.625010869455153]
[160,54.449160999999997,50.797896000000001,1.9504239999999999,140.98002600000001,142.35784100000001,69.129863,140.23542509452454,141.60596301900054,68.764746323222013]
[170,60.078662000000001,56.294088000000002,2.0038420000000001,147.48390800000001,149.600235,73.617596000000006,138.07525285123725,140.05656992917156,68.921201776130246]
[180,66.002555000000001,62.282775000000001,2.0595979999999998,153.051298,156.06252699999999,78.144362000000001,135.32705901850397,137.98957001923546,69.094786039235927]
[190,71.894418000000002,68.545551000000003,2.1197889999999999,157.45791199999999,161.45882,82.712584000000007,131.89581591436138,135.24720688833986,69.284824207913758]
[200,77.266784999999999,74.681743999999995,2.1813560000000001,160.62261000000001,165.57019099999999,87.320577,127.8194117691085,131.75657163159619,69.487507315932334]
[210,81.553689000000006,80.130806000000007,2.237984,162.72251499999999,168.37024600000001,91.980197000000004,123.32425054569087,127.60455676427819,69.710014376744397]
[220,84.281685999999993,84.295267999999993,2.2969270000000002,164.24080699999999,170.13742500000001,96.698707999999996,118.81698314296348,123.08278269853005,69.954897130908194]
[230,85.256169,86.743611999999999,2.359216,165.87789000000001,171.46203299999999,101.47857,114.78385279632033,118.64795697624209,70.22093927563877]
[240,84.643758000000005,87.383375999999998,2.4245329999999998,168.34747899999999,173.097905,106.32501999999999,111.63888933295436,114.78911341500545,70.508968780602643]
[250,82.896718000000007,86.484228999999999,2.4929039999999998,172.17705000000001,175.72972799999999,111.244574,109.61131437792169,111.873019437577,70.820495377008555]
[260,80.586093000000005,84.542732999999998,2.5645820000000001,177.62092100000001,179.80124499999999,116.244686,108.727875283404,110.06252659933436,71.157370711789397]
[270,78.254146000000006,82.097059000000002,2.639977,184.691079,185.48719399999999,121.333834,108.86851173268795,109.33779187164944,71.521775723672135]
[280,76.338723000000002,79.602885000000001,2.7196340000000001,193.23679999999999,192.775993,126.52171800000001,109.83782824021415,109.57590069785219,71.916274386352967]
[290,75.149330000000006,77.407090999999994,2.804262,203.01569000000001,201.578475,131.81952000000001,111.41707099555816,110.62831281784845,72.343890358624009]
[300,74.858796999999996,75.792432000000005,2.8947579999999999,213.75340399999999,211.793646,137.240251,113.39970283106304,112.36001892118342,72.808214459408106]
[310,75.514764,75.030957000000001,2.9922780000000002,225.21265199999999,223.30015900000001,142.79918799999999,115.6248606859188,114.64298096147157,73.31353754744795]
[320,77.098697000000001,75.371927999999997,3.0983100000000001,237.25169399999999,235.90788800000001,148.51446300000001,117.99931205320551,117.33095777990381,73.865034084651242]
[330,79.611859999999993,76.967479999999995,3.2148020000000002,249.82466299999999,249.37407099999999,154.40783300000001,120.48736370520284,120.2700487230281,74.46899961835723]
[340,83.130989,79.862380999999999,3.3443360000000002,262.925996,263.50873200000001,160.50573399999999,123.07638803164676,123.34916836963971,75.133179296155561]
[350,87.815624999999997,84.097891000000004,3.4903930000000001,276.522041,278.23690399999998,166.84073900000001,125.74242771145646,126.52222463481471,75.867223774156471]
[360,93.883832999999996,89.819845999999998,3.6577679999999999,290.48748799999998,293.54832800000003,173.45361600000001,128.4236656154101,129.7768539932251,76.683334398787409]
[370,101.550353,97.321719000000002,3.8532299999999999,304.53358800000001,309.39592099999999,180.396332,130.99466450732623,133.08618972870147,77.597210684990969]
[380,110.861947,107.04075400000001,4.0866569999999998,318.13395800000001,325.58096599999999,187.73659499999999,133.24366310813005,136.36268451456399,78.62949235129264]
[390,121.299718,119.504228,4.3731369999999998,330.58804600000002,341.597781,195.56504899999999,134.90954268715612,139.40250101377623,79.808062165022378]
[400,131.171381,135.12649500000001,4.7373479999999999,341.764633,356.40910400000001,204.007417,135.98382678984376,141.81067666138352,81.171972107398915]
[410,138.080296,153.60663,5.22445,354.325176,368.269229,213.24690799999999,137.54293468855073,142.95577605851506,82.77877928600644]
[420,143.547089,172.665344,5.9349889999999998,375.14086700000001,375.27621799999997,223.57012700000001,142.15600794959352,142.20729790364692,84.719740094601931]
[430,158.18751399999999,187.139689,7.1816069999999996,408.85913699999998,378.267944,235.460059,151.33012251589869,140.00747232746107,87.150307652463539]
[440,196.735929,193.00250500000001,10.390427000000001,449.11264699999998,385.517019,249.33193900000001,162.45113130712608,139.44758913614123,90.187296733038451]
[450,270.57268299999998,197.573184,15.348971000000001,476.60569099999998,410.05948100000001,260.47677700000003,168.56478139639657,145.02887413966033,92.124814711545156]
[460,375.18985700000002,222.417843,15.092864000000001,453.33936299999999,456.44330300000001,276.728388,156.85043591213278,157.92436502965595,95.744980095765058]
[470,450.91509300000001,298.32679200000001,18.506201000000001,345.36200300000002,509.62380899999999,300.91295500000001,116.94908496503828,172.57265599929775,101.89741325242355]
[480,420.664107,453.97490399999998,27.168647,216.88707600000001,505.90177299999999,334.35024900000002,71.913854662807466,167.74326644146657,110.86144760907509]
[490,330.48796599999997,591.81594900000005,47.819277999999997,160.92044799999999,321.89552900000001,385.17998599999999,52.267928048494497,104.55360122353174,125.10877296319804]
[500,254.56104999999999,493.85022300000003,109.484078,164.159266,105.80371599999999,471.55461500000001,52.253517276474625,33.678368797782113,150.10049583009123]
[510,199.610861,328.68991699999998,371.943085,183.45185699999999,64.139589999999998,572.64338099999998,57.249548746936313,20.015946659583332,178.70397002942261]
[520,149.49411499999999,216.01276200000001,590.52906499999995,228.017855,101.493652,-2.2001529999999998,69.78878603165586,31.063877708170445,-0.67339466443935159]
[530,134.07501300000001,156.81302400000001,186.29498899999999,283.54839099999998,168.86969300000001,-57.514057000000001,85.147411383780167,50.710276187473276,-17.271031073243442]
[540,134.18808999999999,132.92025899999999,80.688496999999998,331.796224,228.317229,36.615543000000002,97.790757683010668,67.292251089618958,10.791749374896014]
[550,143.505696,123.748788,46.904273000000003,377.76636200000002,280.78942899999998,94.358053999999996,109.31524335662243,81.252773806001429,27.304637662967245]
[560,163.08153899999999,124.209536,32.410280999999998,423.76891000000001,330.00213600000001,131.91109399999999,120.43735134850809,93.788341384435554,37.48982617635653]
[570,196.94018600000001,133.21979999999999,25.016386000000001,469.85534000000001,378.24390299999999,159.06606199999999,131.19263140197043,105.61295939793224,44.414298325371739]
[580,252.60365899999999,152.0539,20.881160000000001,512.087807,427.01751400000001,180.47054600000001,140.51949272610082,117.17577265502177,49.522033583436695]
[590,340.237842,184.600313,18.553076000000001,535.65914199999997,476.65207400000003,198.549803,144.49627162993809,128.57887069848115,53.559631520969539]
[600,457.55080299999997,238.478511,17.507356000000001,502.13118900000001,524.23861299999999,214.74859900000001,133.1944346832679,139.05861103098192,56.963835088182094]
[610,539.66243599999996,325.30462799999998,17.827853000000001,369.25028300000002,557.00851599999999,230.07243500000001,96.340996356608599,145.32894863226403,60.028139835145559]
[620,486.16976699999998,448.94836700000002,20.562021999999999,210.36316299999999,537.59441800000002,245.17431199999999,54.000543928864687,138.00130484404937,62.936618828959013]
[630,353.019813,552.94442800000002,28.927596999999999,152.94081,411.699298,258.53561200000001,38.636961765045044,104.00631483200517,65.313048595378305]
[640,244.16607099999999,516.99362900000006,41.354137000000001,180.833765,235.33061699999999,258.42511100000002,44.969668090106531,58.521923369399403,64.265052866752711]
[650,177.85528400000001,378.09933000000001,34.198348000000003,238.962582,160.63835399999999,252.44010900000001,58.5108863681575,39.332904752685749,61.81090951077978]
[660,141.34532300000001,258.961794,23.916936,303.18134800000001,185.10222099999999,260.985591,73.110318465854732,44.636262802179452,62.935071035469207]
[670,124.141165,186.50370100000001,19.025465000000001,367.388352,245.91342900000001,272.95529800000003,87.271152619679427,58.415429549295297,64.839081969882599]
[680,121.979698,147.435856,16.735154999999999,430.65593100000001,314.40763900000002,284.73517299999997,100.79561792719441,73.587543959856148,66.642662139817602]
[690,135.34210100000001,130.654505,15.584256,490.04763200000002,383.17864600000001,296.06125300000002,113.0340622946059,88.383732750955815,68.289292569464095]
[700,160.73837399999999,132.800543,14.994099,534.01683300000002,449.446527,307.09330199999999,{"$f":"1000*E68/(2*PI()*A68)","v":121.4163123803274},{"$f":"1000*F68/(2*PI()*A68)","v":102.18805203933573},{"$f":"1000*G68/(2*PI()*A68)","v":69.82202429101747}]
[710,172.853049,152.65849499999999,14.728216,559.76599799999997,503.13954000000001,317.99285300000003,125.47820500910987,112.78471106476395,71.281879468794983]
[720,162.51964599999999,166.60521800000001,14.678576,599.824073,532.42647399999998,328.87765999999999,132.59023083814427,117.69209051401178,72.697923974299584]
[730,153.07516000000001,150.47439499999999,14.790948,669.51239499999997,573.32521199999996,339.83944300000002,145.96740702129253,124.9966321767244,74.091955083625223]
[740,174.51153299999999,156.12542400000001,15.040656,760.75243499999999,651.81271300000003,350.95551599999999,163.61825743168353,140.18812870822828,75.481493482117259]
[750,197.33012400000001,169.60163800000001,15.42295,844.29288799999995,710.81813199999999,362.29552999999999,179.1645153900426,150.84029246286315,76.88149927946408]
[760,229.54279399999999,178.92344,15.951162,960.80130699999995,791.92259999999999,373.92623200000003,201.20562807658374,165.83999517919182,78.30553707174586]
[770,289.877477,200.822667,16.661666,1113.6864,893.99066200000004,385.91410100000002,230.19311118729584,184.78315965622835,79.766411406512916]
[780,402.48386699999998,240.53419500000001,17.628181999999999,1320.9701990000001,1020.9734979999999,398.32311199999998,269.53709852299318,208.32433201605554,81.275759259675198]
[790,634.37456199999997,309.27462600000001,18.991896000000001,1615.274952,1184.264711,411.19663600000001,325.41644691559998,238.58428187967709,82.840477471087098]
[800,1201.6207260000001,434.15746200000001,21.012124,2015.5384779999999,1404.222927,424.48457400000001,400.97863970701917,279.36127504377464,84.448522772946802]
[810,2757.698382,687.56336099999999,24.078042,2014.5654979999999,1712.9938790000001,437.79538000000002,395.83710764084668,336.58202880124702,86.021356530610745]
[820,3518.5892650000001,1294.388745,28.152138000000001,-757.41369699999996,2119.997617,449.83720699999998,-147.00748029641105,411.47329279096192,87.309530586222124]
[830,1409.3868649999999,2882.9482400000002,30.631553,-1474.8705849999999,2088.4569969999998,459.61525899999998,-282.81077593203059,400.46777651494648,88.132578783508109]
[840,582.56357000000003,3721.111946,29.687287999999999,-938.94006000000002,-657.67640500000005,470.70820099999997,-177.90113311428667,-124.61006048887775,89.185163027432651]
[850,303.629479,1607.990411,28.185282999999998,-528.26566000000003,-1551.439768,484.93639899999999,-98.913048299650058,-290.49330351358037,90.800029395333709]
[860,189.59705400000001,685.66119200000003,27.547101999999999,-245.168543,-1034.9550380000001,501.18832500000002,-45.371843615218488,-191.53280252972138,92.751859701973657]
[870,136.69219000000001,362.390514,27.789296,-34.237799000000003,-603.53197399999999,518.71293400000002,-6.2633505188928176,-110.40815744380376,94.891640795172492]
[880,111.370367,227.790222,28.742411000000001,137.12240800000001,-299.22135200000002,537.30125899999996,24.799669365754152,-54.11654232890907,97.175171931078083]
[890,100.85627700000001,164.50581600000001,30.345777999999999,287.54784599999999,-69.881547999999995,556.97107900000003,51.420967490255158,-12.496622241700621,99.600786946153434]
[900,99.764866999999995,133.939729,32.687950999999998,428.93906700000002,118.11100399999999,577.78249300000004,75.85308088697299,20.886611244607359,102.17437754767603]
[910,105.98137699999999,121.36076799999999,36.002856000000001,570.49736700000005,284.567747,599.65261399999997,99.777446130726531,49.769630307224027,104.87656885283107]
[920,119.81535100000001,120.55708300000001,40.411726000000002,721.14616999999998,442.32594999999998,622.03687400000001,124.75432352966115,76.519958043824488,107.60896008970704]
[930,144.72446600000001,128.939008,44.894826000000002,891.03658600000006,601.51016000000004,644.19130299999995,152.48696466411474,102.93904869246975,110.24325824651496]
[940,189.61593500000001,146.39670899999999,47.667095000000003,1092.8834770000001,772.39880100000005,667.44338700000003,185.04022083830611,130.77775235893958,113.007355611752]
[950,275.36015900000001,176.042315,49.569316999999998,1342.490329,967.66767200000004,694.166156,224.90944411938403,162.11483502002827,116.29471058368394]
[960,450.22598799999997,227.017549,52.290165999999999,1650.4356210000001,1205.0930980000001,724.57465300000001,273.61977847613747,199.78804524231862,120.12462256671337]
[970,802.56726000000003,323.21073200000001,56.362257999999997,1974.2015180000001,1511.0870890000001,758.32050700000002,323.92157757651898,247.93503057391013,124.42315168763116]
[980,1353.109062,528.98840600000005,61.919581999999998,2135.194935,1917.140948,795.52053999999998,346.7620697653349,311.34944742661457,129.19492476748354]
[990,1858.023038,994.09813199999996,69.196991999999995,2054.6979580000002,2397.217795,836.65403700000002,330.31852179446827,385.38289064858969,134.50265216801969]
[1000,2247.0476709999998,1828.9167190000001,78.677752999999996,2002.7459759999999,2692.896495,882.44082200000003,318.7469218378024,428.58778841408946,140.44481880737536]
[1010,2801.1548699999998,2762.2736770000001,91.230525,2063.8142579999999,2621.7708779999998,933.80330500000002,325.21409978636854,413.13643058225597,147.14793254088991]
[1020,3795.0135740000001,3808.1769829999998,108.37985399999999,1981.491098,2366.6086879999998,991.81139499999995,309.18049307773254,369.27203045041671,154.75655502854735]
[1030,5221.7880139999997,5199.5231139999996,132.83338800000001,1077.1245309999999,1478.318084,1057.3988039999999,166.43659556717421,228.42876750557258,163.38858881170697]
[1040,5907.3023970000004,5948.7690469999998,169.29825700000001,-1293.650216,-731.01734299999998,1130.21262,-197.97194856567128,-111.87021502341686,172.96050501715573]
[1050,4279.7983910000003,4874.086147,224.38855799999999,-3648.123752,-2819.3631249999999,1204.953399,-552.96850299214452,-427.34816925215546,182.64218061545796]
[1060,2040.0656650000001,3149.9979899999998,298.65429699999999,-3529.3739300000002,-3797.8611860000001,1265.29728,-529.92198771619724,-570.23432163089456,189.97954395540563]
[1070,1215.11087,1454.132073,364.76207099999999,-2851.3889260000001,-3407.5706540000001,1297.3368089999999,-424.12396471999119,-506.8520687093295,192.96968785739818]
[1080,817.24525400000005,826.52117999999996,390.87849799999998,-2393.3167199999998,-2706.3247940000001,1335.93218,-352.69276515970517,-398.81941534931059,196.87056489123304]
[1090,583.83362299999999,552.70893799999999,403.46011399999998,-2051.9796769999998,-2245.31657,1425.312085,-299.61716396207413,-327.84700084554095,208.11510438198687]
[1100,439.22892899999999,398.57764900000001,440.42432600000001,-1787.3722519999999,-1920.904644,1565.504856,-258.60829913735711,-277.92860845525223,226.50712387887799]
[1110,346.77116899999999,302.30835000000002,520.27262099999996,-1577.6243300000001,-1677.7947549999999,1747.289354,-226.20424365904461,-240.56696283955446,250.5312952260762]
[1120,287.60586899999998,238.54953900000001,660.12493600000005,-1408.018998,-1488.1023740000001,1968.0522619999999,-200.08319955267632,-211.4632577222182,279.66539800043381]
[1130,253.586873,194.66101499999999,886.95984799999997,-1269.188394,-1335.6273120000001,2225.33518,-178.75894391147261,-188.1165387905674,313.42751675512631]
[1140,246.05723699999999,163.869372,1241.7708210000001,-1162.3064629999999,-1210.0654039999999,2511.4237950000002,-162.26913945097118,-168.93674606236081,350.61886944987441]
[1150,239.535292,142.941936,1801.4893239999999,-1126.13535,-1104.514449,2806.710274,-155.85218047219274,-152.85994284762708,388.43635994252872]
[1160,153.67981599999999,132.69991899999999,2720.5619830000001,-1066.5877989999999,-1015.984368,2999.9041739999998,-146.33855211409906,-139.39563299249591,411.59446387423213]
[1170,116.341319,126.277344,4102.4198409999999,-971.31956400000001,-957.401522,2661.3085380000002,-132.12847002774751,-130.23520064102905,362.01744351740615]
[1180,99.583511999999999,98.154810999999995,5309.713917,-895.90251499999999,-898.06130299999995,1143.7271109999999,-120.83670660229738,-121.12787760338844,154.26256208801937]
[1190,87.166594000000003,82.405613000000002,5096.7278200000001,-833.60805900000003,-835.79871000000003,-875.53603999999996,-111.48978419419356,-111.78276985405846,-117.09738539588521]
[1200,76.262727999999996,71.695688000000004,3958.5668099999998,-779.140039,-781.36647300000004,-2014.1453799999999,-103.33665713971843,-103.63194712019165,-267.13432777725325]
[1210,66.580185999999998,62.740431999999998,2865.3579399999999,-729.68083000000001,-732.702133,-2376.1859009999998,-95.977116507352846,-96.374517587541604,-312.54688582596611]
[1220,58.410336999999998,54.961353000000003,2009.1543389999999,-683.72574999999995,-688.12122299999999,-2362.1037329999999,-89.195354780092998,-89.768765644992143,-308.14793869079386]
[1230,52.096916999999998,48.387070000000001,1392.3700200000001,-640.46484299999997,-646.585193,-2161.3617589999999,-82.872476130101376,-83.664414305672494,-279.66781118263725]
[1240,47.945472000000002,43.171776999999999,984.455691,-599.36034400000005,-607.44482500000004,-1900.9593910000001,-76.928356000692602,-77.966005285759138,-243.98958362468471]
[1250,46.411121000000001,39.482916000000003,723.79789400000004,-559.88374899999997,-570.21351100000004,-1651.697938,-71.286612968137604,-72.601839114747875,-210.30071306191272]
[1260,48.577966000000004,37.576614999999997,555.55893500000002,-521.45120299999996,-534.38378399999999,-1436.0558000000001,-65.866298840210604,-67.49985772361245,-181.39315803633829]
[1270,57.280293999999998,38.059879000000002,444.24830100000003,-483.91234500000002,-499.289985,-1254.8871409999999,-60.643339944835141,-62.570448148841166,-157.26101693906003]
[1280,79.327038999999999,42.574953000000001,369.32984299999998,-451.16403100000002,-464.05667599999998,-1102.9786240000001,-56.097645061652429,-57.700713953276647,-137.14414072991957]
[1290,117.606701,55.891433999999997,319.48857700000002,-447.23798699999998,-428.306353,-974.84004700000003,-55.178400286448699,-52.84269243225755,-120.27179240619037]
[1300,113.21722200000001,91.165311000000003,288.93148100000002,-484.66352000000001,-400.244125,-866.80719099999999,-59.335842264859757,-49.000639182492655,-106.12049935019282]
[1310,69.315607,137.49453099999999,274.64169500000003,-478.39389399999999,-433.80975899999999,-778.67479900000001,-58.121185477160466,-52.704555348361701,-94.603010169418354]
[1320,46.452294999999999,86.148089999999996,271.41693800000002,-446.46719899999999,-474.18181700000002,-714.97049900000002,-53.831410340335552,-57.173015227156476,-86.205370515703819]
[1330,39.425528,43.185262999999999,263.99339800000001,-414.38740200000001,-444.74203499999999,-678.05058499999996,-49.587822092713047,-53.220220504510316,-81.139174638422062]
[1340,42.145634999999999,27.663615,237.32251099999999,-386.42866800000002,-410.49413700000002,-651.28079700000001,{"$f":"1000*E132/(2*PI()*A132)","v":-45.89703930195293},{"$f":"1000*F132/(2*PI()*A132)","v":-48.755351502829626},{"$f":"1000*G132/(2*PI()*A132)","v":-77.354147898044218}]
[1350,53.612222000000003,22.134589999999999,200.761751,-367.46382499999999,-380.91763099999997,-615.00566300000003,-43.321247523114955,-44.907351025558953,-72.504586145154349]
[1360,62.905780999999998,21.227062,169.07663299999999,-367.80806999999999,-354.63959699999998,-570.26243099999999,-43.042994448227837,-41.50194476372625,-66.735356436213891]
[1370,48.83831,24.347698999999999,145.61195699999999,-370.756394,-330.45101699999998,-524.35227999999995,-43.071323202938927,-38.388987449119668,-60.914786338325229]
[1380,30.631142000000001,33.709577000000003,128.60087300000001,-356.25421299999999,-309.39007900000001,-481.054778,-41.086680432074608,-35.681855374233336,-55.479888272952422]
[1390,20.230131,50.337049,115.953642,-336.07593100000003,-300.69655699999998,-441.48111899999998,-38.48068034018759,-34.429743465657452,-50.549570050785093]
[1400,14.726209000000001,52.020791000000003,106.119444,-316.55168600000002,-311.219157,-405.71508599999999,-35.986261122123956,-35.380048015316177,-46.122543874181019]
[1410,11.574634,33.577466000000001,97.890478000000002,-298.62425500000001,-308.10545300000001,-373.42614300000002,-33.707465468357903,-34.777663715260736,-42.150791871057429]
[1420,9.5962139999999998,20.794354999999999,90.385649000000001,-282.13023600000002,-292.02598,-343.85935499999999,-31.621423700762683,-32.730548048066879,-38.540081744113266]
[1430,8.2537529999999997,14.347454000000001,83.411283999999995,-266.79881,-274.64689199999998,-316.08367500000003,-29.693950645129647,-30.567419906731413,-35.179216298532971]
[1440,7.2852189999999997,10.902778,77.279111999999998,-252.40877399999999,-258.44514800000002,-289.64645999999999,-27.897294487406299,-28.564460293275328,-32.012962401436759]
[1450,6.5526619999999998,8.8625179999999997,72.155254999999997,-238.794937,-243.50135800000001,-264.56878499999999,-26.21061697163292,-26.727203293302921,-29.039606841770269]
[1460,5.9784249999999997,7.5408590000000002,67.938226,-225.83396200000001,-229.58538999999999,-240.911584,-24.618213267347432,-25.027157315192188,-26.261828384724904]
[1470,5.5167109999999999,6.6246710000000002,64.456558999999999,-213.432694,-216.49485300000001,-218.625292,-23.108073651374088,-23.439609529866154,-23.670269324291841]
[1480,5.1375729999999997,5.9452220000000002,61.586021000000002,-201.51702700000001,-204.06849299999999,-197.598749,-21.670561462319554,-21.944938777205298,-21.249201116300483]
[1490,4.8253579999999996,5.42692,59.273654999999998,-190.03071800000001,-192.19426799999999,-177.73644100000001,-20.298206784565107,-20.5293072390124,-18.984988693094643]
[1500,4.5624739999999999,5.0177189999999996,57.493333999999997,-178.934057,-180.78976299999999,-159.03463199999999,-18.985493106024638,-19.182389627908165,-16.87409853706701]
[1510,4.3234110000000001,4.6866469999999998,56.106707,-168.17866900000001,-169.79052100000001,-141.589067,-17.726136750970667,-17.896026958475673,-14.923576093257987]
[1520,4.1125100000000003,4.4129449999999997,54.752890000000001,-157.71400199999999,-159.14571900000001,-125.387567,-16.513791455990177,-16.663702533397217,-13.128980980471194]
[1530,3.9335610000000001,4.1813979999999997,53.113618000000002,-147.516447,-148.811634,-110.047815,-15.345079560394506,-15.479808588681017,-11.447486100465639]
[1540,3.7814269999999999,3.9858039999999999,51.311348000000002,-137.562184,-138.749334,-95.118457000000006,-14.216689328647295,-14.339378153771674,-9.8302419550804512]
[1550,3.652361,3.8242539999999998,49.627609999999997,-127.825352,-128.93129400000001,-80.504076999999995,-13.12518491823322,-13.238743715699631,-8.266207608774554]
[1560,3.5458660000000002,3.6918799999999998,48.167437,-118.27858999999999,-119.334175,-66.283310999999998,-12.067065551563861,-12.174758866053386,-6.7623824295816677]
[1570,3.4686270000000001,3.5837289999999999,46.916758999999999,-108.893218,-109.935186,-52.503137000000002,-11.038785932409779,-11.144412911864286,-5.3223782047012644]
[1580,3.433894,3.4923250000000001,45.837449999999997,-99.641378000000003,-100.706216,-39.162153000000004,-10.036973319739261,-10.144235491443114,-3.9448419190323412]
[1590,3.4689649999999999,3.4298060000000001,44.897402,-90.477123000000006,-91.598888000000002,-26.236214,-9.0565291586059224,-9.1688149729062243,-2.6261780793187346]
[1600,3.6910560000000001,3.4516719999999999,44.073445999999997,-81.311882999999995,-82.577634000000003,-13.694251,-8.0882425697249083,-8.2141491499583505,-1.3621923366194568]
[1610,4.7209640000000004,3.697781,43.348992000000003,-72.141947000000002,-73.603627000000003,-1.5046040000000001,-7.1315201672816961,-7.2760130848087536,-0.1487361267054895]
[1620,6.3994609999999996,4.7914479999999999,42.711931999999997,-66.279331999999997,-65.133556999999996,10.362752,-6.511532909030147,-6.3989676282146428,1.0180760523675463]
[1630,3.814492,4.165794,42.153207999999999,-58.455348000000001,-58.503587000000003,21.935355000000001,-5.707642689789532,-5.712352797335428,2.1417915194635104]
[1640,3.1838869999999999,3.229266,41.665613,-49.474941000000001,-49.757551999999997,33.237876,-4.8013301337377312,-4.8287563152146484,3.2255928434606544]
[1650,3.002103,3.0120070000000001,41.242482000000003,-40.855373,-41.157105999999999,44.292194000000002,-3.940808827159489,-3.969913250458851,4.2723161305970843]
[1660,2.9260299999999999,2.9333819999999999,40.876336999999999,-32.443097000000002,-32.763598999999999,55.118406999999998,-3.1105296727468921,-3.1412582736931802,5.2845583912053771]
[1670,2.8889849999999999,2.8961800000000002,40.558698,-24.157086,-24.496549000000002,65.737160000000003,-2.3022273338898334,-2.3345789593070818,6.2649065621693536]
[1680,2.8726210000000001,2.8783080000000001,40.282640999999998,-15.956080999999999,-16.315552,76.171386999999996,-1.5116006925742098,-1.5456552083767019,7.2161028352474625]
[1690,2.8710830000000001,2.8732890000000002,40.045940000000002,-7.8137460000000001,-8.1964240000000004,86.44426,-0.73585579879557683,-0.7718943167319795,8.1408469117875768]
[1700,2.8831859999999998,2.8793549999999999,39.850262999999998,0.29093000000000002,-0.121086,96.575333999999998,2.7237027996308893E-2,-1.1336138493661906E-2,9.0414363452063444]
[1710,2.9107470000000002,2.8969969999999998,39.697800999999998,8.3784430000000008,7.926749,106.579778,0.77980737945244971,0.73776683391739073,9.9197067265127714]
[1720,2.95946,2.928849,39.589556999999999,16.47287,15.964271,116.470197,1.5242666787268546,1.4772050247142996,10.777213706649325]
[1730,3.0432440000000001,2.9812810000000001,39.525599999999997,24.608172,24.012668999999999,126.258095,2.2638798926332786,2.2090953573292018,11.615375678968853]
[1740,3.1995070000000001,3.069839,39.505718999999999,32.841945000000003,32.102803000000002,135.954227,3.0039987859207797,2.9363906807789237,12.435509920280243]
[1750,3.5559059999999998,3.2391809999999999,39.529682000000001,41.288195000000002,40.288137999999996,145.56831099999999,3.7549830431954732,3.664032177524815,13.238809287536183]
[1760,4.7438820000000002,3.6599349999999999,39.596865999999999,50.078525999999997,48.667278000000003,155.10857899999999,4.5285482702590913,4.4009306025724149,14.026305149891904]
[1770,7.6691830000000003,5.2056570000000004,39.705165999999998,56.033830000000002,57.032547000000001,164.58169699999999,5.038452556424259,5.1282552385146021,14.798864757063594]
[1780,5.9236560000000003,5.8682509999999999,39.849547000000001,63.229959000000001,62.051597999999998,173.993886,5.6535733294089194,5.548212667669195,15.557296081274004]
[1790,8.8940990000000006,4.239503,40.021676999999997,69.624979999999994,70.483945000000006,183.35355300000001,6.190592027751034,6.2669655057917772,16.30258340414068]
[1800,5.0222179999999996,4.8359209999999999,40.211868000000003,75.013417000000004,79.682418999999996,192.67399399999999,6.6326422854242306,7.0454727007608664,17.036121416865658]
[1810,3.7196419999999999,8.3298059999999996,40.412996999999997,84.188293000000002,86.115482,201.97448499999999,7.4027530284081839,7.572212506652563,17.759799815574514]
[1820,3.4307280000000002,4.8929720000000003,40.625489999999999,92.914865000000006,91.324734000000007,211.277728,8.1251978304758996,7.9861444190398245,18.475766360673045]
[1830,3.3656640000000002,3.7070110000000001,40.858255,101.424334,100.46400300000001,220.60265000000001,8.8208656316411957,8.7373457269120252,19.185793555558092]
[1840,3.3802400000000001,3.4786250000000001,41.122497000000003,109.867183,109.21660199999999,229.95997800000001,9.5032093793651349,9.446935910869664,19.890906093480165]
[1850,3.4380139999999999,3.4502700000000002,41.425955000000002,118.31656099999999,117.797715,239.35496599999999,10.17873812582906,10.134101960638002,20.591635671617592]
[1860,3.5328309999999998,3.493398,41.772193000000001,126.817241,126.34676,248.79177799999999,10.85139288947644,10.811135160024389,21.28840928458143]
[1870,3.6784490000000001,3.580549,42.162298,135.40509800000001,134.93145200000001,258.27559200000002,11.524273083712572,11.483961264367277,21.981731094537743]
[1880,3.9274339999999999,3.7174510000000001,42.596299999999999,144.11246299999999,143.59429600000001,267.81286399999999,12.20011215297759,12.156245749042967,22.672202728296547]
[1890,4.4546910000000004,3.9493710000000002,43.073766999999997,152.91164000000001,152.363834,277.411112,12.876530879517667,12.830400703456609,23.360502509745722]
[1900,5.4682279999999999,4.4238739999999996,43.593944,161.131968,161.18260599999999,287.07894199999998,13.497341682802684,13.501583413333362,24.047385619416588]
[1910,5.0113849999999998,5.0735169999999998,44.156109000000001,168.68516099999999,169.43405000000001,296.82641599999999,14.056061360943561,14.118464180931598,24.733712746937826]
[1920,4.3120279999999998,4.5671030000000004,44.760469999999998,177.78096300000001,177.75009299999999,306.66512699999998,14.736832838066331,14.734273924996931,25.420453560392634]
[1930,4.1627460000000003,4.2317260000000001,45.408921999999997,187.17082400000001,187.02538300000001,316.60737499999999,15.434798881960187,15.422805278810845,26.10861593295304]
[1940,4.1917629999999999,4.2075319999999996,46.104771999999997,196.63691399999999,196.478658,326.66508399999998,16.131823122389648,16.118840016887614,26.799156110375883]
[1950,4.2870600000000003,4.2862559999999998,46.851813,206.220619,206.04645400000001,336.849538,16.831297887856632,16.817082902900939,27.492958487651915]
[1960,4.4183089999999998,4.4093559999999998,47.653798999999999,215.96110300000001,215.76399499999999,347.17189500000001,17.536365845932625,17.520360380359691,28.190879179505341]
[1970,4.5780659999999997,4.5615199999999998,48.514532000000003,225.88803999999999,225.66190399999999,357.64371799999998,18.249339163116638,18.231069791435914,28.893789637291302]
[1980,4.7678570000000002,4.7407750000000002,49.438209999999998,236.02571800000001,235.76489599999999,368.27718900000002,{"$f":"1000*E196/(2*PI()*A196)","v":18.972050361875628},{"$f":"1000*F196/(2*PI()*A196)","v":18.951085154518495},{"$f":"1000*G196/(2*PI()*A196)","v":29.602593463302114}]
[1990,4.9943039999999996,4.9511339999999997,50.429721999999998,246.393766,246.09355600000001,379.08506899999998,19.705922515541598,19.681912512795055,30.318222403860407]
[2000,5.2651519999999996,5.1994319999999998,51.494846000000003,257.00428499999998,256.66311200000001,390.08058999999997,20.451751176774124,20.424601492074384,31.04162705135148]
[2010,5.5769650000000004,5.488378,52.640458000000002,267.86026800000002,267.48048699999998,401.277332,21.209594880656638,21.179523227202708,31.77376663608338]
[2020,5.8967349999999996,5.8006739999999999,53.874814999999998,278.97553599999998,278.55051800000001,412.68898200000001,21.98036413668861,21.946877148766326,32.51558982418922]
[2030,6.1825720000000004,6.0949780000000002,55.207853999999998,290.41882099999998,289.90924200000001,424.32883900000002,22.769256615305583,22.729304882918481,33.267996169110852]
[2040,6.4467679999999996,6.3533970000000002,56.651380000000003,302.30047400000001,301.64517999999998,436.20890500000002,23.584615066726954,23.533490910217903,34.031766397771072]
[2050,6.74831,6.6137750000000004,58.218831999999999,314.71431999999999,313.85034899999999,448.33844099999999,24.433336434050997,24.366260699739751,34.807453201592232]
[2060,7.1493739999999999,6.9293680000000002,59.924066000000003,327.75232499999998,326.59278799999998,460.72190899999998,25.322040113403585,25.232454654545357,35.595227770914747]
[2070,7.7267210000000004,7.3469870000000004,61.778070999999997,341.56231200000002,339.95198199999999,473.35664700000001,26.261512236085125,26.137699685597596,36.394710249012263]
[2080,8.6369830000000007,7.9294180000000001,63.782189000000002,356.42174499999999,354.06034799999998,486.232035,27.272251222206268,27.091564681267627,37.204919163404547]
[2090,10.307435999999999,8.8070039999999992,65.917815000000004,372.89652899999999,369.153639,499.33459699999997,28.39632815892837,28.111304501057933,38.02467433940167]
[2100,14.259528,10.314539,68.138650999999996,392.25259499999999,385.68166600000001,512.66497000000004,29.728066397558699,29.230068382770188,38.853887678837253]
[2110,28.378623000000001,13.519475,70.380644000000004,416.24543399999999,404.579904,526.264456,31.396928132953214,30.517010235660891,39.695540069178797]
[2120,71.027969999999996,23.065594000000001,72.598977000000005,401.66828199999998,427.44849699999997,540.22769400000004,30.154477624306303,32.089877931486413,40.55656032794144]
[2130,28.742798000000001,59.468747,74.806595999999999,386.96481799999998,438.47067600000003,554.67479600000001,28.914255205331283,32.762805392603234,41.445650512623786]
[2140,15.21218,42.548668999999997,77.071753999999999,413.19741800000003,402.01400899999999,569.70125599999994,30.730098853975743,29.898372301186772,42.369519148626772]
[2150,12.090778,19.062909999999999,79.478538,435.70279699999998,426.176805,585.35459700000001,32.253141330937034,31.54797448691199,43.331198871681089]
[2160,11.271654,13.69853,82.092804999999998,456.45106399999997,450.60098199999999,601.64878899999997,33.632612553312534,33.201561873778772,44.3311938771309]
[2170,11.258307,12.19581,84.953238999999996,476.81816700000002,472.788929,618.59001899999998,34.971413932749698,34.67589635459592,45.369428235557351]
[2180,11.694146,11.864796999999999,88.078449000000006,497.43937799999998,494.338525,636.19495600000005,36.316484356540279,36.090100832342422,46.446592668592139]
[2190,12.550762000000001,12.036322,91.479339999999993,518.59854700000005,516.05429200000003,654.49932799999999,37.688366317499828,37.50346642720929,47.56475036599258]
[2200,13.929634999999999,12.513207,95.172083999999998,540.23104499999999,538.37346700000001,673.55795000000001,39.08201873793189,38.947635682986999,48.727307818792582]
[2210,15.207871000000001,13.26122,99.186772000000005,561.86942899999997,561.56307800000002,693.43693499999995,40.463482804330646,40.441420688506597,49.938423496716432]
[2220,15.356731,14.338433999999999,103.566822,584.63519699999995,585.75999200000001,714.203665,41.913325003627932,41.993963149670748,51.20227191851265]
[2230,15.367189,15.741861999999999,108.361445,609.57571399999995,610.87574600000005,735.92279699999995,43.505375816982713,43.598159009349381,52.522758240611402]
[2240,15.785613,16.972695000000002,113.618898,636.33102599999995,636.88064999999995,758.66023299999995,45.212155460105969,45.251206967446116,53.903806343392432]
[2250,16.526647000000001,17.665433,119.384978,664.79218000000003,664.59897000000001,782.49085300000002,47.02442736703869,47.010760555236558,55.349905412952729]
[2260,17.501194999999999,18.337968,125.706774,695.10056699999996,694.60616000000005,807.50596499999995,48.95074831151733,48.915930914194668,56.866622082274787]
[2270,18.673915000000001,19.281708999999999,132.640411,727.48322399999995,726.92115000000001,833.81772699999999,51.005529126003765,50.966120819623406,58.460886735550012]
[2280,20.040458999999998,20.509025000000001,140.259829,762.21317299999998,761.65802099999996,861.55829900000003,53.206137795047354,53.167385520938865,60.140904406883834]
[2290,21.613992,22.002656000000002,148.66183000000001,799.60791400000005,799.07739800000002,890.87477899999999,55.572730152183041,55.535859303366728,61.915775001637485]
[2300,23.419834000000002,23.767050000000001,157.96553700000001,840.03816200000006,839.53193899999997,921.92515500000002,58.128793855708857,58.093764337118941,63.795193730005131]
[2310,25.494098000000001,25.828417999999999,168.309788,883.94145500000002,883.45223499999997,954.87956999999994,60.902013838568038,60.868307439754432,65.789525377906273]
[2320,27.884882000000001,28.232353,179.85325499999999,931.84120199999995,931.35474699999997,989.92641500000002,63.925488566807473,63.89211713670327,67.910207864003866]
[2330,30.658483,31.045062000000001,192.77936700000001,984.37531899999999,983.86016700000005,1027.28034,67.239569904082117,67.204381497539757,70.170276417220123]
[2340,33.931368999999997,34.358777000000003,207.30596199999999,1042.3409200000001,1041.7193010000001,1067.189635,70.8947477798948,70.852468405292313,72.584831464395535]
[2350,38.039140000000003,38.304451,223.698454,1106.6728660000001,1105.845877,1109.941245,74.949981706202024,74.893973456315777,75.171334333328701]
[2360,43.106278000000003,43.094045000000001,242.28431,1177.55926,1177.3398070000001,1155.863341,79.412871615523045,79.398072026655953,77.949730618162292]
[2370,47.757613999999997,49.002380000000002,263.46782899999999,1257.6348230000001,1257.1699940000001,1205.3279520000001,84.455189318544683,84.423974199117481,80.942574517987666]
[2380,53.987617999999998,54.616916000000003,287.74765200000002,1349.0828220000001,1347.5179929999999,1258.756541,90.215630151959502,90.110987181184896,84.175346911515135]
[2390,61.950392000000001,62.145600999999999,315.74166100000002,1453.6142689999999,1452.1415420000001,1316.628682,96.799119774168204,96.701047898906765,87.676971948479988]
[2400,71.973629000000003,72.037266000000002,348.22323299999999,1574.3765699999999,1572.916303,1379.491344,104.4040889181514,104.30725195511643,91.480360979200924]
[2410,84.736552000000003,84.730220000000003,386.171605,1715.6524019999999,1714.1136329999999,1447.9658489999999,113.30064747127949,113.19902809674564,95.622789334690012]
[2420,101.314542,101.251426,430.83964400000002,1883.3357579999999,1881.6276929999999,1522.7501729999999,123.86041131711634,123.74807785105344,100.14595749049123]
[2430,123.40331999999999,123.265908,483.84514000000001,2085.789327,2083.790293,1604.6140370000001,136.61056857628301,136.47964012257569,105.09557849514051]
[2440,153.79379900000001,153.50260700000001,547.29636500000004,2335.3103769999998,2332.8181810000001,1694.381159,152.32630743989657,152.16374788557121,110.5201380887806]
[2450,197.45078000000001,196.65750399999999,623.96760900000004,2650.7639920000001,2647.3918450000001,1792.885972,172.19681318236951,171.97775446241749,116.46802646690509]
[2460,264.64893899999998,261.40088900000001,717.54546400000004,3061.7766019999999,3057.5792070000002,1900.88024,198.08816294772629,197.81660353213317,122.98149854540991]
[2470,369.02620200000001,365.50930799999998,832.97190699999999,3613.5934130000001,3614.940204,2018.8444500000001,232.84261295678658,232.9293937037346,130.08464516240434]
[2480,544.97417199999995,551.51797899999997,976.91309000000001,4411.8661229999998,4411.8978040000002,2146.621138,283.13318618351849,283.13521932374118,137.76022784606837]
[2490,896.96966099999997,901.81736699999999,1158.371856,5651.3522489999996,5631.7062150000002,2282.7176290000002,361.22114280395573,359.96541452152542,145.90594150134993]
[2500,1747.6399429999999,1737.2658710000001,1389.4055519999999,7808.2108239999998,7773.7240190000002,2423.0020679999998,497.08613973729649,494.890641542418,154.25310249763388]