{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":501,"n_cols":4,"rows_kept":501,"cut":false,"hidden":false,"merged":[]}
["Frequency / Hz","Relative transformer resistance r(f)"]
[0,0.90909090909090906]
[10,0.91722206537272655]
[20,0.93208929207395186]
[30,0.95134163650408077]
[40,0.9741401593454484]
[50,1]
[60,1.0285940125465818]
[70,1.0596820308425356]
[80,1.0930779729552511]
[90,1.1286321286999792]
[100,1.166220647704199]
[110,1.2057388485747356]
[120,1.2470967283962835]
[130,1.2902158208286587]
[140,1.3350269225991653]
[150,1.3814684020642392]
[160,1.4294849111272234]
[170,1.479026384632651]
[180,1.5300472496330637]
[190,1.5825057910958917]
[200,1.636363636363636,null,"Equation based on the Technical Report \"Network modelling for harmonic studies\", CIGRE 2019"]
[210,1.691585331218733]
[220,1.7481379876270304]
[230,1.8059909882893197]
[240,1.8651157367362898]
[250,1.9254854443180862]
[260,1.9870749473664573]
[270,2.0498605492465485]
[280,2.1138198831039214]
[290,2.1789317919453697]
[300,2.2451762233362786]
[310,2.3125341365005481]
[320,2.3809874200056456]
[330,2.4505188185307238]
[340,2.5211118674682917]
[350,2.5927508343138297]
[360,2.6654206659634712]
[370,2.7391069411753146]
[380,2.8137958275615569]
[390,2.8894740425708685]
[400,2.9661288179972276]
[410,3.043747867615747]
[420,3.1223193575998409]
[430,3.2018318794198271]
[440,3.2822744249615217]
[450,3.3636363636363633]
[460,3.4459074212827003]
[470,3.5290776606819172]
[480,3.6131374635339055]
[490,3.6980775137542836]
[500,3.7838887819712541]
[510,3.8705625111135888]
[520,3.9580902029929055]
[530,4.046463605793762]
[540,4.1356747023940699]
[550,4.2257156994463099]
[560,4.316579017156962]
[570,4.4082572797078008]
[580,4.5007433062681148]
[590,4.5940301025517902]
[600,4.6881108528775517]
[610,4.7829789126943698]
[620,4.8786278015376672]
[630,4.9750511963848254]
[640,5.0722429253814276]
[650,5.1701969619119881]
[660,5.2689074189912954]
[670,5.3683685439543627]
[680,5.4685747134248466]
[690,5.5695204285435027]
[700,5.6712003104395583]
[710,5.7736090959294204]
[720,5.8767416334281437]
[730,5.9805928790604526]
[740,6.0851578929588319]
[750,6.1904318357373853]
[760,6.2964099651307741]
[770,6.4030876327885107]
[780,6.5104602812154777]
[790,6.6185234408501499]
[800,6.7272727272727257]
[810,6.8367038385358017]
[820,6.9468125526107656]
[830,7.0575947249434918]
[840,7.1690462861134989]
[850,7.2811632395909331]
[860,7.3939416595861207]
[870,7.5073776889870425]
[880,7.6214675373798784]
[890,7.7362074791486526]
[900,7.851593851649735]
[910,7.9676230534575989]
[920,8.0842915426781943]
[930,8.2015958353267173]
[940,8.3195325037665757]
[950,8.4380981752066138]
[960,8.5572895302539553]
[970,8.6771033015195886]
[980,8.7975362722745825]
[990,8.9185852751542267]
[1000,9.0402471909083264]
[1010,9.1625189471951547]
[1020,9.2853975174174099]
[1030,9.4088799195981938]
[1040,9.5329632152952986]
[1050,9.6576445085520604]
[1060,9.7829209448833616]
[1070,9.9087897102951317]
[1080,10.035248030336019]
[1090,10.162293169179881]
[1100,10.289922428737771]
[1110,10.418133147798271]
[1120,10.546922701195012]
[1130,10.676288499000233]
[1140,10.806227985743408]
[1150,10.936738639653868]
[1160,11.067817971926596]
[1170,11.199463526010154]
[1180,11.331672876916018]
[1190,11.464443630548407]
[1200,11.597773423053873]
[1210,11.731659920189887]
[1220,11.866100816711805]
[1230,12.001093835777318]
[1240,12.136636728368021]
[1250,12.272727272727266]
[1260,12.409363273813836]
[1270,12.546542562770744]
[1280,12.684262996408807]
[1290,12.822522456704281]
[1300,12.961318850310223]
[1310,13.100650108080972]
[1320,13.240514184609431]
[1330,13.380909057776542]
[1340,13.521832728312738]
[1350,13.663283219370824]
[1360,13.80525857610996]
[1370,13.94775686529039]
[1380,14.090776174878478]
[1390,14.234314613661855]
[1400,14.378370310874272]
[1410,14.522941415829804]
[1420,14.668026097566113]
[1430,14.813622544496679]
[1440,14.959728964071402]
[1450,15.106343582445511]
[1460,15.253464644156493]
[1470,15.401090411808839]
[1480,15.549219165766145]
[1490,15.697849203850694]
[1500,15.846978841049983]
[1510,15.996606409230154]
[1520,16.146730256856092]
[1530,16.297348748717944]
[1540,16.448460265663922]
[1550,16.600063204339158]
[1560,16.752155976930577]
[1570,16.904737010917366]
[1580,17.05780474882706]
[1590,17.211357647997062]
[1600,17.365394180341465]
[1610,17.519912832122831]
[1620,17.674912103729071]
[1630,17.830390509455214]
[1640,17.986346577289602]
[1650,18.142778848704996]
[1660,18.299685878453793]
[1670,18.457066234367854]
[1680,18.614918497162371]
[1690,18.773241260243768]
[1700,18.932033129521837]
[1710,19.09129272322545]
[1720,19.251018671722257]
[1730,19.411209617342003]
[1740,19.571864214203316]
[1750,19.732981128044234]
[1760,19.89455903605581]
[1770,20.056596626719294]
[1780,20.219092599646409]
[1790,20.382045665422783]
[1800,20.54545454545455]
[1810,20.709317971817676]
[1820,20.873634687110549]
[1830,21.038403444309189]
[1840,21.203623006625254]
[1850,21.369292147366743]
[1860,21.535409649801508]
[1870,21.701974307023004]
[1880,21.868984921818964]
[1890,22.036440306542165]
[1900,22.204339282983732]
[1910,22.372680682248923]
[1920,22.541463344634884]
[1930,22.710686119510914]
[1940,22.880347865200754]
[1950,23.050447448867036]
[1960,23.220983746397902]
[1970,23.391955642295397]
[1980,23.563362029566175]
[1990,23.735201809613915]
[2000,23.90747389213367]
[2010,24.080177195008144]
[2020,24.253310644205694]
[2030,24.426873173680157]
[2040,24.600863725272355]
[2050,24.775281248613339]
[2060,24.950124701029317]
[2070,25.125393047448007]
[2080,25.301085260306888]
[2090,25.477200319462703]
[2100,25.653737212102744]
[2110,25.830694932657249]
[2120,26.00807248271374]
[2130,26.185868870932314]
[2140,26.364083112962703]
[2150,26.542714231362371]
[2160,26.72176125551621]
[2170,26.901223221557316]
[2180,27.081099172289317]
[2190,27.261388157109607]
[2200,27.442089231934098]
[2210,27.623201459123056]
[2220,27.80472390740805]
[2230,27.986655651820172]
[2240,28.16899577361934]
[2250,28.351743360224685]
[2260,28.534897505146084]
[2270,28.718457307916545]
[2280,28.902421874026057]
[2290,29.086790314855957]
[2300,29.271561747614761]
[2310,29.456735295274498]
[2320,29.64231008650853]
[2330,29.828285255629893]
[2340,30.014659942530713]
[2350,30.201433292622621]
[2360,30.388604456777948]
[2370,30.576172591271767]
[2380,30.764136857724811]
[2390,30.952496423047425]
[2400,31.141250459384054]
[2410,31.330398144058599]
[2420,31.519938659520815]
[2430,31.709871193293178]
[2440,31.900194937918609]
[2450,32.090909090909072]
[2460,32.282012854694877]
[2470,32.473505436574392]
[2480,32.665386048664985]
[2490,32.85765390785425]
[2500,33.050308235752148]
[2510,33.243348258643671]
[2520,33.436773207442251]
[2530,33.6305823176438]
[2540,33.824774829281338]
[2550,34.019349986880478]
[2560,34.214307039415061]
[2570,34.409645240263821]
[2580,34.605363847167553]
[2590,34.801462122186642]
[2600,34.997939331659545]
[2610,35.194794746161342]
[2620,35.39202764046334]
[2630,35.589637293492949]
[2640,35.787622988294011]
[2650,35.985984011987952]
[2660,36.184719655735172]
[2670,36.383829214697052]
[2680,36.583311987998542]
[2690,36.78316727869101]
[2700,36.983394393715898]
[2710,37.183992643868493]
[2720,37.384961343762392]
[2730,37.586299811794525]
[2740,37.78800737011025]
[2750,37.990083344569214]
[2760,38.192527064711669]
[2770,38.395337863724833]
[2780,38.598515078410259]
[2790,38.80205804915115]
[2800,39.005966119880156]
[2810,39.21023863804772]
[2820,39.414874954590836]
[2830,39.619874423902125]
[2840,39.825236403799011]
[2850,40.030960255493902]
[2860,40.237045343564063]
[2870,40.443491035922605]
[2880,40.650296703788797]
[2890,40.857461721659902]
[2900,41.064985467282426]
[2910,41.272867321624375]
[2920,41.481106668847261]
[2930,41.689702896278988]
[2940,41.898655394386573]
[2950,42.107963556749844]
[2960,42.317626780034345]
[2970,42.527644463965949]
[2980,42.738016011304708]
[2990,42.948740827819513]
[3000,43.159818322262694]
[3010,43.371247906345616]
[3020,43.583028994713338]
[3030,43.795161004921134]
[3040,44.007643357409833]
[3050,44.220475475482381]
[3060,44.433656785280192]
[3070,44.64718671576022]
[3080,44.861064698671733]
[3090,45.075290168533584]
[3100,45.289862562612015]
[3110,45.504781320898452]
[3120,45.720045886087476]
[3130,45.935655703555078]
[3140,46.151610221337521]
[3150,46.367908890109753]
[3160,46.584551163164846]
[3170,46.801536496392814]
[3180,47.018864348260742]
[3190,47.236534179791676]
[3200,47.454545454545411]
[3210,47.672897638598194]
[3220,47.891590200523034]
[3230,48.110622611370665]
[3240,48.329994344650075]
[3250,48.549704876309605]
[3260,48.769753684718175]
[3270,48.990140250646711]
[3280,49.210864057249772]
[3290,49.431924590047245]
[3300,49.65332133690665]
[3310,49.875053788025028]
[3320,50.097121435911582]
[3330,50.319523775369809]
[3340,50.542260303481122]
[3350,50.76533051958674]
[3360,50.988733925271596]
[3370,51.212470024347404]
[3380,51.436538322835851]
[3390,51.660938328952625]
[3400,51.885669553091127]
[3410,52.110731507806101]
[3420,52.336123707798478]
[3430,52.561845669898872]
[3440,52.78789691305262]
[3450,53.014276958304286]
[3460,53.240985328782237]
[3470,53.468021549683705]
[3480,53.695385148259994]
[3490,53.923075653801348]
[3500,54.151092597623041]
[3510,54.379435513049827]
[3520,54.608103935402681]
[3530,54.837097401983961]
[3540,55.066415452063758]
[3550,55.296057626865611]
[3560,55.526023469552882]
[3570,55.756312525215371]
[3580,55.986924340855374]
[3590,56.217858465374761]
[3600,56.44911444956152]
[3610,56.680691846076598]
[3620,56.912590209440879]
[3630,57.144809096022584]
[3640,57.377348064024453]
[3650,57.610206673470877]
[3660,57.843384486195845]
[3670,58.076881065830051]
[3680,58.310695977789194]
[3690,58.54482878926148]
[3700,58.779279069195908]
[3710,59.014046388289636]
[3720,59.249130318977393]
[3730,59.484530435418677]
[3740,59.720246313486776]
[3750,59.956277530757148]
[3760,60.192623666496203]
[3770,60.429284301649702]
[3780,60.666259018832065]
[3790,60.903547402314956]
[3800,61.141149038016579]
[3810,61.379063513490692]
[3820,61.617290417915932]
[3830,61.855829342085237]
[3840,62.09467987839524]
[3850,62.333841620835784]
[3860,62.573314164979422]
[3870,62.81309710797175]
[3880,63.053190048520356]
[3890,63.29359258688573]
[3900,63.534304324870213]
[3910,63.77532486580909]
[3920,64.0166538145603]
[3930,64.258290777494452]
[3940,64.500235362485995]
[3950,64.742487178902834]
[3960,64.985045837597426]
[3970,65.22791095089714]
[3980,65.471082132594816]
[3990,65.714558997940301]
[4000,65.958341163630209]
[4010,66.202428247799844]
[4020,66.44681987001367]
[4030,66.691515651256552]
[4040,66.936515213924892]
[4050,67.181818181818201]
[4060,67.427424180129961]
[4070,67.673332835439496]
[4080,67.919543775702877]
[4090,68.166056630245265]
[4100,68.412871029751713]
[4110,68.659986606259352]
[4120,68.907402993149205]
[4130,69.155119825137888]
[4140,69.403136738269239]
[4150,69.651453369907017]
[4160,69.900069358726029]
[4170,70.14898434470507]
[4180,70.398197969118684]
[4190,70.647709874529326]
[4200,70.897519704780066]
[4210,71.147627104986654]
[4220,71.398031721529748]
[4230,71.648733202048135]
[4240,71.899731195430491]
[4250,72.151025351808698]
[4260,72.40261532254992]
[4270,72.654500760249647]
[4280,72.906681318724651]
[4290,73.159156653005624]
[4300,73.411926419330015]
[4310,73.664990275135409]
[4320,73.918347879051822]
[4330,74.171998890895807]
[4340,74.42594297166282]
[4350,74.680179783520629]
[4360,74.934708989802715]
[4370,75.189530255001387]
[4380,75.44464324476138]
[4390,75.700047625872955]
[4400,75.955743066265825]
[4410,76.211729235001997]
[4420,76.468005802270227]
[4430,76.724572439378733]
[4440,76.981428818749762]
[4450,77.23857461391249]
[4460,77.496009499497376]
[4470,77.753733151229767]
[4480,78.011745245923692]
[4490,78.270045461476059]
[4500,78.528633476860222]
[4510,78.787508972120435]
[4520,79.04667162836553]
[4530,79.30612112776339]
[4540,79.565857153534637]
[4550,79.825879389947275]
[4560,80.086187522310937]
[4570,80.346781236970514]
[4580,80.607660221301458]
[4590,80.868824163703266]
[4600,81.130272753594596]
[4610,81.392005681407227]
[4620,81.654022638580841]
[4630,81.91632331755757]
[4640,82.178907411776351]
[4650,82.441774615667754]
[4660,82.704924624648541]
[4670,82.968357135116392]
[4680,83.232071844444889]
[4690,83.496068450977788]
[4700,83.760346654024559]
[4710,84.024906153854332]
[4720,84.2897466516918]
[4730,84.554867849711144]
[4740,84.820269451032033]
[4750,85.08595115971373]
[4760,85.351912680750914]
[4770,85.618153720067951]
[4780,85.884673984514791]
[4790,86.151473181861618]
[4800,86.418551020794567]
[4810,86.685907210910074]
[4820,86.953541462710973]
[4830,87.221453487601664]
[4840,87.489642997882768]
[4850,87.758109706747462]
[4860,88.026853328276204]
[4870,88.295873577432431]
[4880,88.56517017005811]
[4890,88.834742822868719]
[4900,89.104591253449428]
[4910,89.374715180250277]
[4920,89.645114322582117]
[4930,89.915788400611689]
[4940,90.186737135357887]
[4950,90.457960248686646]
[4960,90.729457463307824]
[4970,91.001228502769678]
[4980,91.273273091455636]
[4990,91.545590954579581]